## I. 2020 National
2020 Criteria Certification Documentation Instructions
Please refer to 2020 Criteria for full description of requirements for each criterion, FAQ, and Addenda [https://www.greencommunitiesonline.org/introduction] All 2020 Certification templates and forms are available on the Templates for Certification page [https://www.greencommunitiesonline.org/templates-certification]
Criterion # | Criterion Name | Project Type Requirements | Prebuild |  | Postbuild
|  |  | Document(s) Required | Required text for "Additional Information" Field | Document(s) Required | Text for "Were there any changes during construction?" Field
- | Site plan(s) | Mandatory for all projects | Submit your project's site plan(s). Annotate for mandatory and optional criteria as specified. Site plan must be legible. Mandatory: 2.1 - Need site plan if there are no ERPZ; 2.2 - Ensure that site is connected to existing development; 2.6 (NC-R) option 2 - Ensure at least 10% of total project acreage is documented as open and accessible to all tenants and that 80% of that space is unpaved. Site plan must be highlighted and display the calculation. Optional: 2.7 options 2,3,4 - Ensure site plan highlighted with calculation that clearly shows threshold % of total project acreage is open and accessble to all tenants. Option 4 - Also ensure a written statement of preservation/conservation policy for set aside land (for 15 years) is submitted. | - | - | -
- | Context map(s) | Mandatory for all projects | Submit your project's\ context map. Annotate for mandatory and optional criteria as specified. Confirm compliance with the following criteria: 2.5 - Context map needs to clearly show the distace from the project site to four services within 0.5-mile, or seven services within 1-mile for urban projects. Rural projects need to be wtihin five miles of four services. Note: each service type can only be counted twice. 2.6 - Option 1 - Map should clearly show the dedicated open space is within 0.25-mile walk distance from the project site 2.7 Option 1 - same as 2.6 2.8: Urban/NC - [REQUIRED] project needs to be within 0.5-mile walk distance to public transit with 45 or more weeday transit rides and some weekend service. Optional (2 points) - locate project along dedicated bike trails; with 45 or more weeday transit rides and some weekend service. Optional (2 points) - locate project along dedicated bike trails Rural/Rehab/NC - Project needs to be within 0.5-mile walk distance to public transit with 45 or more weeday transit rides and some weekend service. 2.12 option 3 - Project needs to be within 0.5-mile walk distance from the project's geographic center to an existing or planned farmers market that will operate at least once a week for at least five months of the year or for a length of time proportional to the growing season for the project's vicinity | - | - | -
- | Project photos | Mandatory for all projects | - | - | Submit project photos showing the project/site before, during and after construction. We ask that they be a print quality of at least 4” x 6” and 300 dpi. Label files clearly to show which construction phase is represented in the photos. Interior and exterior shots are preferred. If your project is pursuing any of the criteria that require specific Postbuild photo documentation per the Supplemental Document Instructions, these should also be included. Photo files must be packaged as a ZIP file. | -
1 Integrative Design
1.1 | Integrative Design - Project Priorities Survey | Mandatory for all projects | Submit your Project Priorities Survey, all sections complete, including a signature. Ensure that survey indicates that required actions will be carried out. Please use the updated Criterion 1.1 Project Priorities Survey that no longer refers to Opportunity 360 (https://www.greencommunitiesonline.org/integrative-design) | NA | NA | NA
1.2 | Integrative Design - Charrettes & Coordination Meetings | Mandatory for all projects | Submit your Collaborative Meeting Template with all sections completed and at least one set of minutes from a collaborative meeting. | NA | NA | NA
1.3 | Integrative Design - Documentation | Mandatory for all projects | Submit your Division 1 Section 01 81 13 Sustainable Design Requirements, or other specifications as necessary for the general contractor to understand the requirements and how they will be verified. Ensure that either the Division 1 Section 01 81 13 Sustainable Design Requirements, or other specification version clearly communicates the green building requirements and how they will be verified to the general contractor. | Note the type of specification submitted for compliance. | NA | NA
1.4 | Integrative Design - Construction Management | Mandatory for all projects | Submit a narrative outlining your contractor, subcontractor and consultant education plan per the criteria. At minimum the narrative must include: Summary of Project Priorities Survey, sustainability goals & objectives, and the anticipated roles of each party in regard to performance expected of the building and site. | NA | NA | NA
1.5 | Design for Health and Well-Being: Health Action Plan | Optional ¦ 12 points for Steps 1–6; Additional 3 points for Step 7 | Submit documentation of Steps 1-6 of your Health Action Plan process per the criteria. Demonstrate that the project is listed on the HAP Activity list here: https://www.greencommunitiesonline.org/sites/default/files/gcc_templates/2020-criterion-1.5-health-action-plan-instruction-and-template.xlsx | NA | If pursuing the optional 3 points for step 7, submit your monitoring plan in accordance with Step 7 of your Health Action Plan process in the criteria. | NA
1.6 | Resilient Communities: Multi-Hazard Risk / Vulnerability Assessment | Optional ¦ 10 points | Submit your four-part assessment and a short description of how this may impact your design, including the two strategies selected. | NA | NA | Briefly describe the resilience strategies that were incorporated into your project as a result of the assessment completed at Prebuild.
1.7 | Resilient Communities: Strengthening Cultural Resilience | Optional ¦ 8 points | Option 1: Submit the 1.7 Cultural Resilience Assessment worksheet; Option 2: Submit the Cultural Advisory Group worksheet. Ensure all sections are complete. Note: In lieu of either completed template, you may submit supplemental documentation reflecting the information requested on the template in alternative formats, including maps, diagrams, or other creative forms of representation. | NA | NA | NA
2 Location + Neighborhood Fabric
2.1 | Sensitive Site Protection | Mandatory all Projects | Option 1: Submit a site plan if an ERPZ is not applicable. Option 2: Submit your site plan, AND submit your ERPZ map, illustrating the ecologically sensitive feature(s) present on your site in accordance with the requirements in the criteria. For additional guidance, see 2020 Addenda & FAQ https://www.greencommunitiesonline.org/2020-addenda-faq | Option 2: Note the ecologically sensitive feature(s) on your project site that will be illustrated on your ERPZ map in the additional information field | NA | NA
2.2 | Connections to Existing Development and Infrastructure (New construction, urban/suburban only) | Mandatory for New Construction, except for projects defined as Rural/Tribal/Small Town | Submit your site plan. On your site plan, highlight the connections to the existing neighborhood and infrastructure. Note: Ensure that site plan clearly shows that site is connected to existing development. | NA | NA | NA
2.3 | Compact Development (New Construction only) | Mandatory for New Construction | NA | Using the Center for Neighborhood Technology Residential Density Calculator (https://apps.cnt.org/residential-density/), provide the existing residential density of your project site census block group, and the residential density calculation (dwelling units / acre) for your project. Example: Include calculation: CNT - 5 units/acre Project Name: 20 units/0.8 acre = 25 units/acre Projects in Rural/Tribal/Small Town locations that do not have zoning requirements are not required to provide additional information. | NA | NA
2.4 | Compact Development | Optional ¦ 5,7 pts | Although not required, a screen shot of the CNT website with required information is acceptable. | Using the Center for Neighborhood Technology Residential Density Calculator (https://apps.cnt.org/residential-density/), provide the existing residential density of your project site census block group, and the residential density calculation (dwelling units / acre) for your project. Example: Add calculation: CNT - 5 units/acre Project Name: 20 units/0.8 acre = 25 units/acre Note: Screen shot of CNT website with required information is acceptable. Projects in Rural/Tribal/Small Town locations that do not have zoning requirements are not required to provide additional information. | NA | NA
2.5 | Proximity to Services & Community resources (New Construction only) | Mandatory for New Construction | Submit your context map. On your context map, indicate the center of the site and illustrate the walk distance from the center of the site to the required resources. Note: Context map needs to clearly show the distace from the center of the project site to four services within 0.5-mile, or seven services within 1-mile for urban projects. Rural projects need to be wtihin five miles of four services. Each service type can only be counted twice. | NA | NA | NA
2.6 | Preservation of and Access to Open Space for Rural/Tribal/Small Towns | Mandatory for New Construction Rural/Tribal/Small Town | Option 1: Submit your context map. On your context map, clearly indicate the center of the site and illustrate the walk distance from the center of the site to the dedicated public open space within 0.25-mile walk distance from the center of the project site. Option 2: Submit your site plan highlighting the permanent open space accessible to all residents. Clearly illustrate paved and non-paved areas within this space as applicable to your project. Ensure at least 10% of total project acreage is documented as open and accessible to all tenants and that 80% of that space is unpaved. Ensure spermanent open space set aside and accessible to all residents is highlighted on the site plan. Display the calculation. | Option 2: Provide the % of permanent open space your project has set aside, the % of this open space that is paved if applicable to your project, and the calculation(s) for how these percentages were reached. Ensure that the % of permanent open space the project has set aside aligns with points and strategy per the criteria, and the % of this open space that is paved is less than 20%. Note: Include calculation(s) for how these percentages were reached. | NA | NA
2.7 | Preservation of and Access to Open Space | Optional ¦ 6 points maximum | Option 1: Submit your context map. On your context map, indicate the center of the site and illustrate the walk distance from the center of the site to the public open space. Map should clearly show the dedicated open space is within 0.25-mile walk distance from the project site. Option 2: 20% or 35%: Submit your site plan highlighting the permanent open space accessible to all residents. Clearly illustrate paved and non-paved areas within this space as applicable to your project. Ensure site plan highlighted with calculation that clearly shows threshold % of total project acreage is open and accessble to all tenants. 45%: Submit your site plan per above, and submit a copy of the written preservation / conservation policy for the set-aside land for 15 years. Ensure site plan highlighted with calculation that clearly shows threshold % of total project acreage is open and accessble to all tenants. | Option 2: Provide the % of permanent open space your project has set aside, the % of this open space that is paved if applicable to your project, and the calculation(s) for how these percentages were reached. | NA | NA
2.8 | Access to Transit (Mandatory for New Construction Urban/Suburban; optional for all others) | Mandatory for New Construction except for projects defined as Rural/Tribal/Small Town Optional for all other projects ¦ 2, 6, or 8 points | New Construction urban/suburban MANDATORY: Submit your context map, clearly indicating the center of the site and the walk distance from the center of the site to the transit stops within 0.5 miles. AND include the transit ride schedule with compliant daily and weekend rides highlighted. New Construction urban/suburban OPTIONAL 2 points: Highlight the qualifying bike lanes on your context map. Rehab projects urban/suburban OPTIONAL 6 points: Submit your context map, indicating the center of the site and the walk distance from the center of the site to the transit stops within 0.5 miles AND include the transit ride schedule with daily and weekend compliant rides highlighted. Rehab projects urban/suburban OPTIONAL 2 points: highlight the qualifying bike lanes on your context map. Check that the context map highlights qualifying bike lanes located immediately adjacent with 45 or more weekday transit rides and some weekend service highlighted. Rural / tribal / small town projects OPTIONAL 2 points: Submit your context map, indicating the center of the site and the walk distance from the center of the site to the transit stops within 0.5 miles AND include the transit ride schedule with compliant rides highlighted. Note: Round trip on transit schedule counts as two rides. See context map example: https://www.greencommunitiesonline.org/location-neighborhood-fabric#sec_203 | Rural / tribal / small town projects OPTIONAL 6 points: If locating the project within 5 miles of either a 1) vehicle share program, 2) dial-a-ride program, 3) employer van-pool, 4) park-and-ride, or 5) public/private regional transportation, for 6 optional points. In the additional text field, specify which of these the project is utilizing for compliance. In the additional text field, specify which of these the project is utilizing for compliance. | NA | NA
2.9 | Improving Connectivity to the Community | Optional ¦ 2–8 points | NA | Describe the community connectivity measures per the Criteria your project is incorporating to earn the optional points allocated. Be sure to reference the available options in the 2020 Criteria (https://www.greencommunitiesonline.org/location-neighborhood-fabric#sec_203). The minimum is 2 points. | NA | NA
2.1 | Passive Solar Heating/Cooling | Optional ¦ 5 points maximum | NA | NA | NA | NA
2.11 | Adaptive Reuse of Buildings | Optional ¦ 6 points | NA | NA | NA | NA
2.12 | Access to Fresh, Local Foods | Optional ¦ 6 points | Option 1: Submit your site plan that clearly indicates the location and size of the permanent food space for growing that meets the requirements of 10 sq. ft per dwelling unit for 50% of the units. Option 2: Submit a narrative describing your project's CSA arrangement, including point of delivery location & schedule of delivery. Option 3: Submit your context map, clearly illustrating the maximum 0.5 miles walk distance from the center of the site to the farmers market. Ensure that market will operate at least once a week for at least five months of the year or for a length of time proportional to the growing season for the project's vicinity. | NA | NA | NA
2.13 | Advanced Certification: Site Planning, Design, and Management | Optional ¦ 8 points | NA | Indicate the certification program you have selected. | Submit the certificate for the community program to which the neighborhood your project is located is certified. | NA
2.14 | Local Economic Development and Community Wealth Creation | Optional ¦ 6 points maximum | Options 1 & 2: Submit your project's bid and/or contract documents supporting compliance with your strategy; 2.14. Option 3: Submit a narrative clearly describing your strategy. | NA | Note: at Postbuild, teams must submit their bid documents for compliance with Options 1 & 2 if these were not submitted at Prebuild. | NA
2.15a | Access to Broadband: Broadband Ready (Mandatory for New Construction and Substantial Rehab in Rural/Tribal/Small Town) | Mandatory for New Construction and Substantial Rehabilitation projects in Rural/Tribal/Small Town locations | NA | NA | NA | NA
2.15b | Access to Broadband: Connectivity | Optional ¦ 6 points | NA | Provide the speed of the internet service for downloading and uploading in megabits/second. {Minimum 25 megabits per second for downloading and 3 megabits per second for uploading (25/3)}. | Submit a copy of the project's internet service contract. | NA
3 Site Improvements
3.1 | Environmental Remediation | Mandatory for all projects | NA | NA | NA | NA
3.2 | Minimization of Disturbance during Staging and Construction | Mandatory for all projects | NA | NA | NA | NA
3.3 | Ecosystem Services / Landscaping (mandatory if providing landscaping) | Mandatory, if providing landscaping | NA | NA | NA | NA
3.4 | Surface Stormwater Management - MANDATORY | Mandatory for New Construction projects ¦ Mandatory for Rehab projects if land disturbed is ≥ 5,000 square feet | NA | Option 2: Provide a narrative explaining why treating or retaining on site the precipitation volume from the 60th percentile is not feasible. An acceptable explanation may include geotechnical issues (e.g., high groundwater elevations, contamination, underground utilities, underground transportation networks), soil conditions (e.g., clay soils) or the size of the site (e.g., zero lot line). AND must specify the max amount able to treat or retain. | NA | NA
3.5 | Surface Stormwater Management - OPTIONAL | Optional ¦ 10 points maximum | NA | NA | NA | NA
3.6 | Efficient Irrigation and Water Reuse -MANDATORY (if irrigation is utilized) | Mandatory, if permanent irrigation is utilized | NA | NA | NA | NA
3.7 | Efficient Irrigation and Water Reuse - OPTIONAL | Optional ¦ 4 or 6 points | NA | NA | NA | NA
4 Water
4.1 | Water Conserving Fixtures | Mandatory | Submit the 4.1 Water Conservation Calculator and Specifications. 4.1Calculator should show 20% improvement over baseline. Fixtures should be WaterSense labeled except Kitchen Faucets. | NA | Revised water calculator only required if the strategy was updated. | NA
4.2 | Advanced Water Conservation | Optional ¦ 6 points maximum | The documentation uploaded for compliance with 4.1 satisfies the documentation for this criterion. 4.2 Water Conservation template must show appropriate % (30/40/50/60) reduction aligns with strategy and points indicated. Fixtures should be WaterSense labeled except Kitchen Faucets. | NA | Revised water calculator only required if the strategy was updated. | NA
4.3 | Water Quality : Lead Service Lines | Optional ¦3 & Mandatory Mandatory for Substantial Rehabs of buildings built before 1986; | NA | Describe whether or not a lead service line was present prior to construction and/or will be replaced. | NA | NA
4.3 | Water Quality: Legionella | Mandatory for multifamily buildings with either a cooling tower, a centralized hot water system, or more than 10 stories in height. | NA | NA | Include your legionella water management program in your Operations & Maintenance Manual for Criterion 8.1. Include keeping hot water above 140°F until the point of use and strategies to ensure that water does not stagnate in unused pipe sections or vacation locations. | NA
4.3 | Water Quality: Testing | Optional ¦ 8 points | NA | Describe which water quality tests will be completed (lead, nitrates, arsenic, and/or coliform bacteria). | Upload the project's water quality testing results. Water quality testing results must align with strategy described at prebuild. AND Ensure every fixture in the project was tested by an EPA accredited lab. For all buildings served by private wells, the following tests must be completed and remediated as follows: Nitrates: If results are above 50 mg/L (or above 11 mg/L for nitrogen), install an ion exchange or reverse osmosis water treatment system and test annually to make sure the problem is controlled. Arsenic: If results are above 0.01 mg/L, follow remediation guidance from your local health department. Coliform bacteria: If coliform bacteria is above 0 CFU/100 mL total coliforms (including E. coli), notify all residents not to drink water unless it is boiled it for at least one minute at a rolling boil, longer if at high altitudes. Disinfect the well according to procedures recommended by your local health department. Monitor your water periodically after disinfection to make certain that the problem does not recur. If the contamination is a recurring problem, investigate the feasibility of drilling a new well or install a point-of-entry disinfection unit, which can use chlorine, ultraviolet light. or ozone | Describe results of water quality tests and remediation activity if results were initially above listed thresholds. If descrepencies exist between prebuild and postbuild strategies, provide description. Description must align with submitted test results for compliance with criteria, and ensure remediation activity (if required by the criteria) follows the criteria recommendations.
4.4 | Monitoring Water Consumption and Leaks | Optional ¦ 4 points | NA | NA | NA | Provide the product name and specification for the system installed.
4.5 | Efficient Plumbing Layout and Design | Optional ¦ 4 points | NA | NA | NA | NA
4.6 | Non-Potable Water Reuse | Optional ¦ 6 points | NA | Provide the defined percentage of the project’s non-potable water needs which will not be met with a potable water source. Describe how that percentage meets the threshold project is pursuing. | NA | NA
4.7 | Access to Potable Water during Emergencies | Optional ¦ 78 points | NA | Option 1, 2, 3: Provide a short narrative describing the location of common access point/ stored water/ well. Ensure access point are located above flood level and may reasonably be accessed safely and relatively easily in times of power loss. Projects following Option 2 must include in the narrative the amount of water stored. | NA | NA
5 Operating Energy
5.1a | Building Performance Standard (New Construction) | Mandatory for New Construction | 5.1a Prescriptive Path: Submit a signed and dated letter of intent, indicating the project is completing the appropriate prescriptive path version of ENERGY STAR certification. 5.1a ERI Path: 1. Submit the 5.1a Building Performance Standard ERI path Template - ERI Option. 2. Also submit projected ENERGY STAR certificates. The projected ERI indices must meet the ENERGY STAR target(s), and unit information on the projected certificates must align with the 5.1a ERI Path template. Projects may submit projected ENERGY STAR certificates for all units in the building, or if using sampling procedures per the Criteria, the projected ratings for only the worst performing units of each unit type. 5.1a ASHRAE Path: Submit the 5.1a Building Performance Standard ASHRAE path template. | Transcribe your project’s projected operating energy use intensity (EUI) in kBTU/ft2/yr and projected operating building emissions intensity in tC02e/ft2/yr as calculated by your project’s Prebuild 5.1a Building Performance Standard template. Exception: Projects following the ENERGY STAR Prescriptive Path do not provide this information at Prebuild. | All projects: 1. Submit the project’s final ENERGY STAR certificate(s) or ENERGY STAR certification letter signifying that the project successfully certified to the appropriate ENERGY STAR program. 2. Also submit the 5.1a Building Performance Standard template for your project (whether prescriptive path, ERI path, or ASHRAE path) with the Postbuild tabs completed. | Transcribe your project’s operating energy use intensity (EUI) in kBTU/ft2/yr and operating building emissions intensity in tC02e/ft2/yr as calculated by your project’s 5.1a Building Performance Standard template.
5.1b | Building Performance Standard (Rehab) | Mandatory for New Rehabs | 5.1b ERI Path: 1. Submit the 5.1b Building Performance Standard ERI Option template. 2. Also submit projected ERI ratings certificates. Projects following the ERI path may submit projected ERI ratings for all units in the building, or if using sampling procedures per the Criteria, the projected ratings for only the worst performing units of each unit type. Ensure projected HERS ratings are included on the template and demonstrate a HERS index of 80 or below and that unit information on the projected ratings align with the template. Exception: Substantial rehabs of buildings built before 1980 with walls made only of brick/masonry and Moderate rehabs of buildings built before 1980 following the ERI pathway may meet a HERS rating of 100. 5.1b ASHRAE Path: Submit the 5.1b Building Performance Standard ASHRAE Option template. Compartmetalization for all national rehab projects: If pursuing the 20% improvement pathway, regardless of whether following ERI or ASHRAE, input the pre-construction airflow values under in the template under "5.1b Compartmentalization" Colorado projects following EOC alternative compliance pathway: At Prebuild project teams should upload a confirmation letter to the Enterprise certification portal from Energy Outreach Colorado showing that the project has appropriately committed to the Colorado alternate path. At Postbuild, project teams will upload a confirmation letter to the Enterprise certification portal from EOC confirming that the project successfully complied. Letter constitutes full compliance, no template or model is needed. | Transcribe your project’s projected operating energy use intensity (EUI) in kBTU/ft2/yr and projected operating building emissions intensity in tC02e/ft2/yr as calculated by your project’s Prebuild 5.1a Building Performance Standard template. | 5.1b ERI Path: 1. Submit the 5.1b Building Performance Standard ERI Option template with Postbuild tabs completed; 2. Also submit confirmed ERI ratings indicating a score of 80 or below. Projects following the ERI path may submit confirmed ERI ratings for all units in the building, or if using sampling procedures per the Criteria, the confirmed ratings for only the worst performing units of each unit type. Exception: Substantial rehabs of buildings built before 1980 with walls made only of brick/masonry and Moderate rehabs of buildings built before 1980 may meet a HERS rating of 100. 5.1b ASHRAE Path: Submit the 5.1b Building Performance Standard ASHRAE Option template with Postbuild tabs completed. All projects should submit commissioning results as applicable: 1. For HVAC systems repaired or installed during rehab, complete testing via the National HVAC Functional Testing Checklist; 2. Visual inspection of insulation installation; 3. Post-construction compartmentalization results provided in the 5.1b template accordingly. | Transcribe your project’s operating energy use intensity (EUI) in kBTU/ft2/yr and operating building emissions intensity in tC02e/ft2/yr as calculated by your project’s 5.1a Building Performance Standard template.
5.2a | Moving to Zero Energy: Additional Reductions in Energy Use | Optional ¦ 5 to 12 points | The template submitted for compliance with Criterion 5.1a or 5.1b serves to document compliance with 5.2a, as applicable. Ensure the appropriate threshold is demonstrated on your template accordance with the projects selected pathway: ERI path for 5.1a or 5.1b compliance: ERI score at least five lower than required [5 points] AND each additional two-point decrease in ERI score [1 point] ASHRAE path for 5.1a or 5.1b compliance: 5% greater efficiency than required [5 points] AND each additional 1% greater efficiency [1 point] Note: Substantial rehabs of buildings built before 1980 with walls made only of brick/masonry and Moderate rehabs of buildings built before 1980 following the ERI pathway may meet a HERS rating of 100 and are NOT eligible for points for Criterion 5.2a. | NA | The template submitted for compliance with Criterion 5.1a or 5.1b serves to document compliance with 5.2a as applicable. | NA
5.2b | Moving to Zero Energy: Near Zero Certification | Optional ¦ 15 points maximum ¦ Enterprise Green Communities Plus | Projects pursuing 5.2b via certification to DOE Zero Energy Ready Home, or PHI Classic or PHIUS, need only complete the projected operating CO2e and EUI sections of the 5.1a or 5.1b on the Overview tab. Projects pursuing the 5.2b Addenda for Existing Buildings: ASHRAE Path: Submit the 5.2b Certification Plus for Existing Buildings Template - ASHRAE Option, demonstrating that the savings requirement will be achieved. ERI Path: 1. Submit the 5.2b Certification Plus for Existing Buildings Template – ERI Option, demonstrating that the savings requirement will be achieved. 2. Also submit the projected ERI ratings certificates. For both the ASHRAE Option and ERI Option of the Addenda: 1. Ensure the compliance strategy for renewables (either 5.3a or 5.3b of the 2020 Criteria), AND the compliance strategy for 5.5b are integrated into the Criteria Compliance section of the Criteria. 2. If qualifying as a tenant-in-place project for this Addenda pathway, provide a memo signed by the building owner verifying this distinction in accordance with the definition in the Addenda. All projects: 1. Ensure that the existing and projected EUI and emissions for the building(s) are calculated on the Overview Tab of the appropriate 5.2b template. 2. If pursuing the 20% improvement pathway, regardless of whether following ERI or ASHRAE, input the pre-construction airflow values under in the template under "5.1b Compartmentalization" | Transcribe your project’s projected operating energy use intensity (EUI) in kBTU/ft2/yr and projected operating building emissions intensity in tC02e/ft2/yr as calculated by your project’s Prebuild 5.2b Building Performance Standard template. If applicable, specify the near zero energy program to which your project is certifying. | Projects pursuing 5.2b via certification to DOE Zero Energy Ready Home, or PHI Classic or PHIUS: Submit your DOE Zero Energy Home, or PHI Classic or PHIUS certificate(s). Projects pursuing the 5.2b Addenda for Existing Buildings: 1. Whether utilizing a HERS or ASHRAE pathway, submit the as-built energy model(s) demonstrating the project is built to perform 30% more efficient than pre-retrofit conditions. 2. Include a memo signed by the PV or other renewables installer as appropriate for your project, verifying the solar capacity of the renewables in kWh, AND ensure the appropriate sections for 5.3b are updated in the appropriate Building Performance Standard template submitted for Postbuild. 3. Provide commissioning results as applicable: - For HVAC systems repaired or installed during rehab, complete testing via the National HVAC Functional Testing Checklist; - Visual inspection of insulation installation; - Post-construction compartmentalization results provided in the 5.1b template accordingly. | NA
5.3a | Moving to Zero Energy: Photovoltaic/Solar Hot Water Ready | Optional ¦ 3-6 points | Option 1 : Photovoltaic Ready: Submit a complete DOE Zero Energy Ready Home PV Ready Checklist. Option 2: Solar Hot Water Ready: Submit a complete DOE Zero Energy Ready Home Solar Hot Water Ready Checklist. | NA | NA | NA
5.3b | Moving to Zero Energy: Renewable Energy | Optional ¦ 8 points maximum | Compliance will be evaluated by reviewing the template submitted for Criterion 5.1. Ensure the appropriate sections for 5.3b are completed in the the project's 5.1 Building Performance Standard template and that projected % of common area OR total energy consumption (Option 1 or Option 2) of the projected estimated source energ ymeets the site source renewable energy output. | NA | A memo signed by the PV or other renewables installer as appropriate for your project, verifying the solar capacity of the renewables in kWh, AND ensure the appropriate sections for 5.3b are updated in the 5.1 Building Performance Standard template submitted for Postbuild. | NA
5.4 | Achieving Zero Energy | Optional ¦ 24 points ¦ Enterprise Green Communities Plus | Option 1: 1. Complete the projected operating CO2e and EUI sections of the 5.2b Certification Plus for Existing Buildings Template on the Overview tab. 2. Submit the projected ZERH Certificates 3. Within the 5.2b Certification Plus for Existing Buildings Template, OR on a separate submitted document, specify the projected % of total energy consumption meets the total site source renewable energy output. Option 2: Complete the projected operating CO2e and EUI sections of the 5.2b Certification Plus for Existing Buildings Template on the Overview tab. Option 3: 1. Refer ro documentation requirements for 5.2b above. 2. Within the 5.2b Certification Plus for Existing Buildings Template, OR on a separate submitted document, specify the projected % of total energy consumption meets the total site source renewable energy output. | Transcribe your project’s projected operating energy use intensity (EUI) in kBTU/ft2/yr and projected operating building emissions intensity in tC02e/ft2/yr as calculated by your project’s Prebuild 5.2b Building Performance Standard template. If applicable, specify the zero energy program to which your project is certifying. | Option 1: 1. Submit your project's final DOE ZERH Certificates 2. A memo signed by the PV or other renewables installer as appropriate for your project, verifying the solar capacity of the renewables in kWh. Option 2: Your project's zero energy program certificate(s). Option 3: 1. Refer ro documentation requirements for 5.2b above. 2. A memo signed by the PV or other renewables installer as appropriate for your project, verifying the solar capacity of the renewables in kWh. | NA
5.5a | Moving to Zero Carbon: All-Electric Ready | Optional ¦ 5 points maximum | NA | Describe the combustion fueled uses which can be seamlessly switched to electricity for compliance. Note: Points are awarded to teams who are currently using another energy source outside of electricity, but wired their building in a way that it can be switched to electric. We will not award points for projects already using electric systems. Provide list/description of fueled uses which can be seamlessly switched to electricity for compliance. | NA | NA
5.5b | Moving to Zero Carbon: All Electric | Optional ¦ 15 points | NA | NA | NA | NA
5.6 | Sizing of Heating and Cooling Equipment | Mandatory for New Construction and all Rehabs that include replacement of heating and cooling equipment | NA | NA | NA | NA
5.7 | ENERGY STAR Appliances (if providing appliances) | Mandatory for New Construction and all Rehabs providing appliances | NA | NA | NA | NA
5.8 | Lighting | Mandatory for New Construction and Substantial Rehab projects and new lighting in Moderate Rehab projects | NA | NA | NA | NA
5.9 | Resilient Energy Systems: Floodproofing | Optional ¦ 8 points (See 2020 Addenda & FAQ https://www.greencommunitiesonline.org/2020-addenda-faq) | NA | NA | NA | NA
5.1 | Resilient Energy Systems: Critical Loads | Optional ¦ 8 points | NA | Describe which critical loads will be designed to be powered by the backup system whether islandable PV system or generator. Backup system must be designed to power a minimum of 3 critical loads. | NA | NA
6 Materials
6.1 | Ingredient Transparency for Material Health: Products with Content Publicly Characterized and Screened to 1,000 ppm or Better | Optional ¦ 8 points maximum | NA | NA | Submit the specification or cut sheet(s) clearly demonstrating HPD label(s) for the compliant materials. 1 point per 5 installed Declare or HPD products from at least three different product categories 1 point per 2 installed Declare or HPD products in any of these high-priority product categories: adhesives, sealants, windows 1 point per each product with third-party verified HPD or third-party verified Declare label 2 points per each product with third-party verified HPD or third-party verified Declare label in any of these high-priority product categories: adhesives, sealants, windows. | List the compliant products specified. Ensure that the list and points match accordingly.
6.2 | Recycled Content and Ingredient Transparency: Products including Post-Consumer Recycled Content | Optional ¦ 3 points maximum | NA | NA | Submit the appropriate disclosure(s) for the compliant products. Ensure that the building product must make up 75% (by weight or cost) of a product category for the project and must be composed of at least 25% post-consumer recycled content to be eligible for this criterion. | List the specified products and % of recycled content for each. Ensure that the list and points match accordingly.
6.3 | Chemical Hazard Optimization: Products with Third-Party Verification of Optimization to 100 ppm | Optional ¦ 8 points maximum | NA | NA | Submit the appropriate disclosure(s) for the compliant products. | List the compliant products specified.
6.4 - Interior Paints, Coatings, Primers & Wallpaper. | Healthier Material Selection | Mandatory and Optional ¦ 15 points maximum ( for all of Criterion 6.4) | NA | NA | 1. Complete and submit the 6.4_6.5 Materials Tracking Template. 2. Submit manufacturer's specification or cutsheet disclosing content compliance. Refer to tab XI of the 6.4_6.5 Materials Tracking Template for detailed information on content compliance. | NA
6.4 - Interior Adhesives & Sealants | Healthier Material Selection | Mandatory and Optional ¦ 15 points maximum ( for all of Criterion 6.4) | NA | NA | 1. Complete and submit the 6.4_6.5 Materials Tracking Template. 2. Submit manufacturer's specification or cutsheet disclosing content compliance. Refer to tab XI of the 6.4_6.5 Materials Tracking Template for detailed information on content compliance. | NA
6.4 - Flooring | Healthier Material Selection | Mandatory and Optional ¦ 15 points maximum ( for all of Criterion 6.4) | NA | NA | 1. Complete and submit the 6.4_6.5 Materials Tracking Template. 2. Submit manufacturer's specification or cutsheet disclosing content compliance. Refer to tab XI of the 6.4_6.5 Materials Tracking Template for detailed information on content compliance. | NA
6.4 - Insulation | Healthier Material Selection | Mandatory and Optional ¦ 15 points maximum ( for all of Criterion 6.4) | NA | NA | 1. Complete and submit the 6.4_6.5 Materials Tracking Template. 2. Submit manufacturer's specification or cutsheet disclosing content compliance. Refer to tab XI of the 6.4_6.5 Materials Tracking Template for detailed information on content compliance. | NA
6.4 - Composite Wood | Healthier Material Selection | Mandatory and Optional ¦ 15 points maximum ( for all of Criterion 6.4) | NA | NA | 1. Complete and submit the 6.4_6.5 Materials Tracking Template. 2. Submit manufacturer's specification or cutsheet disclosing content compliance. Refer to tab XI of the 6.4_6.5 Materials Tracking Template for detailed information on content compliance. | NA
6.5 - Concrete, Steel & Insulation | Environmentally Responsible Material Selection | Optional ¦ 12 points maximum ( for all of Criterion 6.5) | NA | NA | 1. Complete and submit the 6.4_6.5 Materials Tracking Template. 2. Provide a publicly disclosed EPD for 90% by volume for concrete, steel, and/or insulation product(s), used in the project is provided. Clearly indicate the total Global Warming Potential (GWP). | Indicate the materials (concrete, steel, or insulation) intended for compliance. Only new products should be counted; existing/reused/salvaged products are exempt.
6.5 - Roofing | Environmentally Responsible Material Selection | Optional ¦ 12 points maximum ( for all of Criterion 6.5) | NA | NA | Complete and submit the appropriate section(s) of the 6.4_6.5 Materials Tracking Template. | NA
6.5 - Paving | Environmentally Responsible Material Selection | Optional ¦ 12 points maximum (for all of Criterion 6.5) | Submit your project's site plan illustrating that the compliant material covers more than 50% of the total hardscaped area. Include the calculation of the hardscaped area and area covered with compliant material. | NA | Complete and submit the appropriate section(s) of the 6.4_6.5 Materials Tracking Template. | NA
6.5 - Wood non-composite | Environmentally Responsible Material Selection | Optional ¦ 12 points maximum (for all of Criterion 6.5) | NA | NA | Complete and submit the appropriate section(s) of the 6.4_6.5 Materials Tracking Template. | NA
6.6 | Bath, Kitchen, Laundry Surfaces | Mandatory for New Construction and Substantial Rehab. Moderate Rehabs that do not include work in the shower and tub areas are exempt from the shower and tub enclosure requirement | NA | NA | NA | NA
6.7 | Regional Materials | Optional ¦ 4 points maximum | NA | NA | Provide the product specification/cut sheet for each compliant product. | Indicate the source location for compliant products installed that are extracted, processed, and/or manufactured within 500 miles of the project site for a minimum of 90% based on weight or on cost of the amount of the product category installed in the project.
6.8 | Managing Moisture: Foundations | Mandatory for all New Construction projects and for all Rehab projects with either basement and/or crawl space foundations. | NA | NA | NA | NA
6.9 | Managing Moisture: Roofing and Wall Systems | Mandatory for all Rehab projects that include deficiencies in or include replacing particular assemblies called out below New Construction projects are considered compliant by way of the required ENERGY STAR Water Management System Checklist. | NA | NA | NA | NA
6.1 | Construction Waste Management - MANDATORY | Mandatory for all projects | NA | Describe the pathway your project is implementing; citing specific materials as applicable. | Option 3: Submit your construction waste receipts. | NA
6.1 | Construction Waste Management - OPTIONAL | Optional ¦ 6 points maximum | NA | Describe the pathway your project is implementing; citing specific materials as applicable. | Option 3: Submit your construction waste receipts. | NA
6.11 | Recycling Storage | Optional ¦ 2 points | NA | NA | Include your recycling storage locations in your Operations & Maintenance Manual for Criterion 8.1. | NA
7 Healthy Living Environment
I. Reducing Exposure to Toxins
7.1 | Radon Mitigation | Mandatory for New Construction and Substantial Rehab | NA | NA | If testing was completed, submit your project's testing results. Ensure testing results are below EPA action level of 4pCi/L and that mitigation measures meet ANSI - AARSTR RMS-MF 2018 for mf buildings or SGM-SF-2017 for homes. | Describe the mitigation measures installed as appropriate for your project per the Criteria.
7.2 | Reduce Lead Hazards in Pre-1978 Buildings (Substantial Rehab on buildings constructed before 1978) | Mandatory for Substantial rehab on buildings constructed before 1978 | NA | NA | Submit your project's lead abatement compliance documentation. | NA
7.3 | Combustion Equipment | Mandatory for all projects | NA | NA | NA | NA
7.4 | Garage Isolation | Mandatory for all projects | NA | NA | NA | NA
7.5 | Integrated Pest Management | Mandatory for all projects | NA | NA | NA | Describe how the Integrated Pest Management plan is included in the Resident Manual.
7.6 | Smoke-Free Building | Mandatory and Optional ¦ 10 points | NA | NA | Submit a copy of your project's smoke-free policy. Ensure documentation of the property's smoke free policy aligns with the criteria requirements. Include the smoke-free policy in your Operations & Maintenance Manual for Criterion 8.1. | Describe how the Smoke Free Policy is included in the O+M Manual and Resident Manual.
II. Managing the Indoor Environment
7.7 | Ventilation | Mandatory for New Construction and Substantial Rehab; Optional for Moderate Rehab ¦ 12 points max | NA | NA | NA | All rehab projects: Provide the actual flowrates in CFM of the dwelling unit ventilation system(s) installed demonstrating they are within +/- 15 CFM or +/- 15% of the design values.
7.8 | Dehumidification | Mandatory for properties in Climate Zones 1A, 2A, 3A and 4A following Criterion 5.2a, 5.2b, or 5.4 Optional for all other properties | NA | Options 1 & 2: Describe the project's dehumidification strategy in the additional text field. Option 3: See revised requirements (2020 Addenda & FAQ https://www.greencommunitiesonline.org/2020-addenda-faq) | NA | NA
7.9 | Construction Pollution Management | Optional ¦ 3 points | NA | NA | Option 1: Submit your EPA Indoor airPlus label. Option 2: Upload a description of your strategy, including how it meets the criteria. | NA
7.1 | Noise Reduction | Optional ¦ 3 points | NA | NA | Option 1: Submit your test results showing that noise is within limits per the criteria. Option 2 & Option 3: Upload a description of your strategy and how it aligns with the requirements of the criterion. | NA
III. Promoting Health Through Design
7.11 (MANDATORY + OPTIONAL) | Active Design: Promoting Physical Activity | Mandatory and Optional ¦ 8 points: All projects must comply with at least one of Criterion 7.11, 7.12, or 7.13. | Submit a description of your project's active design strategies that align with the Criteria manual for Option 1: Encouraging Everyday Stair Usage or Option 2: Activity Spaces. For additional guidance see 2020 Addenda & FAQ https://www.greencommunitiesonline.org/2020-addenda-faq | NA | NA | NA
7.12 (MANDATORY + OPTIONAL) | Beyond ADA: Universal Design | Mandatory and Optional ¦ 8 points: All projects must comply with at least one of Criterion 7.11, 7.12, or 7.13. | Submit a description of at least 3 of your project's universal design strategies within the selected Option and how they align with the requirements of the criterion. (See 2020 Addenda & FAQ https://www.greencommunitiesonline.org/2020-addenda-faq) | NA | NA | NA
7.13 (MANDATORY + OPTIONAL) | Healing-Centered Design | Mandatory and Optional ¦ 8 points: All projects must comply with at least one of Criterion 7.11, 7.12, or 7.13. | Submit a description of at least 2 healing centered design strategies in at least 2 Options, ensure that the description aligns with the Criteria. See additional guidance see 2020 Addenda & FAQ https://www.greencommunitiesonline.org/2020-addenda-faq | NA | NA | NA
8 Operations, Maintenance, and Resident Engagement
8.1 | Building Operations & Maintenance Manual and Plan | Mandatory for All Multifamily Projects | Submit your project's Building Operation & Maintenance Manual & Plan outline. Include relevant requirements are in the outline and ensure that outline aligns with Criteria requirements. If relevant, ensure that legionella plans are included for MF buildings with either a cooling tower, a centralized hot water system, or more than 10 stories in height (Criterion 4.3), and address recycling storage (Criterion 6.11), and smoke free building policy (Criterion 7.6) | NA | Submit your project's complete Building Operation & Maintenance Manual & Plan. Include relevant requirements are in the manual and ensure that manual aligns with Criteria requirements. If relevant, ensure that legionella plans are included for MF buildings with either a cooling tower, a centralized hot water system, or more than 10 stories in height (Criterion 4.3), and address recycling storage (Criterion 6.11), and smoke free building policy (Criterion 7.6) | NA
8.2 | Emergency Management Manual | Mandatory for all multifamily projects | Submit your project's Emergency Management Manual & Plan outline. Include the following in the outline: -Communication plans for staff and residents to use in the event of an emergency -Useful contact information for public utility and other service providers; - Infrastructure and building “shutdown” procedures - Plan for regular testing of backup energy systems, if these exist (Criterion 5.10) | NA | Submit your project's complete Emergency Management Manual & Plan. Include the following in the complete manual: -Communication plans for staff and residents to use in the event of an emergency -Useful contact information for public utility and other service providers; - Infrastructure and building “shutdown” procedures - Plan for regular testing of backup energy systems, if these exist (Criterion 5.10) | NA
8.3 | Resident Manual | Mandatory for all projects | Submit your project's Resident Manual outline. Ensure that relevant requirements are listed in the Resident Manual outline. Include policies related to criteria 2.9, 6.11, 7.5, and 7.6, if applicable.. | NA | Submit your project's Resident Manual. Ensure that relevant requirements are listed in the manual. Include policies related to criteria 2.9, 6.11, 7.5, and 7.6, if applicable. | NA
8.4 | Walk-Throughs and Orientations to Property Operation | Mandatory for all projects | NA | NA | NA | NA
8.5 | Energy and Water Data Collection and Monitoring | Mandatory, except for detached single-family buildings | NA | Indicate the method used for compliance of the four options available in the criteria. For additional guidance Ssee 2020 Addenda & FAQ https://www.greencommunitiesonline.org/2020-addenda-faq | No document required; please be sure to share the energy benchmarking account, including the energy meters for all fuels listed in the application, with EGC. Include owner paid and tenant paid (as applicable) accounts are being shared in accordance with the method specified. | Note: Individual accounts/meters for energy and water must be estblished in the online benchmarking program, but utility data may not yet be available; if this is the case, please note that in the "Were there any changes during construction?" text box.
~ End of document. ~