## I. 2020 NYC Overlay_V2
2020 New York City Overlay_V2 Documentation Instructions
All 2020 Certification templates and forms are available on the Templates for Certification page: https://www.greencommunitiesonline.org/templates-certification
Mandatory for all projects following the 2020 NYC Overlay/ V2 * |  | Prebuild |  | Postbuild
Criterion # | Criterion/Item Name | Document(s) Required | Text for "Additional Information" Field | Document(s) Required | Text for "Describe Changes in implementation since prebuild" Field
- | HPD Prebuild Authorization Form | Submit your HPD PreBuild Authorization Form signed by and HPD Sustainability Officer as part of the HPD Instructions for Certification Process. | - | - | -
- | Site plan(s) | Submit your project's site plan(s). Annotate for mandatory and optional criteria as specified . | - | - | -
- | Context map(s) | Submit your project's\ context map. Annotate for mandatory and optional criteria as specified. | - | - | -
- | Project photos | - | - | Submit project photos showing the project/site before, during and after construction. Photo files must be packaged as a ZIP file. | -
1 Integrative Design
1.1 | Integrative Design - Project Priorities Survey | Substantial and Moderate Rehab Projects: In lieu of section 5 of the PPS, complete and submite theResiliency Tab from the NY Integrated Physical Needs Assessme nt (IPNA). New Construction Projects: In lieu of section 5 of the PPS, complete and submit the “Exposure Screening Tool” on pages 31-32 of the NYC Climate Resiliency Design Guidelines v3.0 (or most current version of the CRDG). | NA | NA | NA
1.2 | Integrative Design - Charrettes & Coordination Meetings | Submit your Collaborative Meeting Template. AND if seeking optional points for consulting with the NYC Accelerator during pre-development (1 optional point) submit a memo describing your consultation process. If also incorporating actionable strategies determined in the consultation (2 optional points), submit a memo that also describes the strategies. | NA | NA | If incorporating actionable strategies determined in the NYC Accelerator consultation, confirm the strategies incorporated.
1.3 | Integrative Design - Documentation | Submit your Division 1 Section 01 81 13 Sustainable Design Requirements, or other specifications as necessary for the general contractor to understand the requirements and how they will be verified. | Note the type of specification submitted for compliance. | NA | NA
1.4 | Integrative Design - Construction Management | Submit a narrative outlining your contractor, subcontractor and consultant education plan per the criteria. | NA | NA | NA
1.5 | Design for Health and Well-Being: Health Action Plan | Submit documentation of Steps 1-6 of your Health Action Plan process per the criteria. | NA | Submit your monitoring plan in accordance with Step 7 of your Health Action Plan process in the criteria. | NA
1.6 | Resilient Communities: Multi-Hazard Risk / Vulnerability Assessment | Submit your four-part assessment and a short description of how this may impact your design, including the two strategies selected. | NA | NA | Briefly describe the resilience strategies that were incorporated into your project as a result of the assessment completed at Prebuild.
1.7 | Resilient Communities: Strengthening Cultural Resilience | Option 1: Submit the 1.7 Cultural Resilience Assessment worksheet; Option 2: Submit the Cultural Advisory Group worksheet. | NA | NA | NA
2 Location + Neighborhood Fabric
2.1 | Sensitive Site Protection | Option 1: Submit your site plan. Option 2: Submit your site plan, AND submit your ERPZ map, illustrating the ecologically sensitive feature(s) present on your site in accordance with the requirements in the criteria. | Option 2: Note the ecologically sensitive feature(s) on your project site that will be illustrated on your ERPZ map in the additional information field | NA | NA
2.2 | Connections to Existing Development and Infrastructure (New construction, urban/suburban only) | NA | NA | NA | NA
2.3 | Compact Development (New Construction only) | NA | Using the Center for Neighborhood Technology Residential Density Calculator (https://apps.cnt.org/residential-density/), provide the existing residential density of your project site census block group, and the residential density calculation (dwelling units / acre) for your project. | NA | NA
2.4 | Compact Development | NA | Using the Center for Neighborhood Technology Residential Density Calculator (https://apps.cnt.org/residential-density/), provide the existing residential density of your project site census block group, and the residential density calculation (dwelling units / acre) for your project. | NA | NA
2.5 | Proximity to Services & Community resources (New Construction only) | NA | NA | NA | NA
2.6 | Preservation of and Access to Open Space for Rural/Tribal/Small Towns | Option 1: Submit your context map. On your context map, indicate the center of the site and illustrate the walk distance from the center of the site to the public open space. Option 2: Submit your site plan highlighting the permanent open space accessible to all residents. Clearly illustrate paved and non-paved areas within this space as applicable to your project. | Option 2: Provide the % of permanent open space your project has set aside, the % of this open space that is paved if applicable to your project, and the calculation(s) for how these percentages were reached. | NA | NA
2.7 | Preservation of and Access to Open Space | Option 1: Submit your context map. On your context map, indicate the center of the site and illustrate the walk distance from the center of the site to the public open space. Options 2 & 3: Submit your site plan highlighting the permanent open space accessible to all residents. Clearly illustrate paved and non-paved areas within this space as applicable to your project. Option 4: Submit your site plan per above, and submit a copy of the written preservation / conservation policy for the set-aside land for 15 years. | Option 2-4: Provide the % of permanent open space your project has set aside, the % of this open space that is paved if applicable to your project, and the calculation(s) for how these percentages were reached. | NA | NA
2.8 | Access to Transit (Mandatory for New Construction Urban/Suburban; optional for all others) | If locating the project along dedicated bike trails or lanes, per the criteria (seeking 2 optional points), highlight the qualifying bike lanes on your context map. If demonstrating the project has received approval for reduction in parking minimum (2 optional points), upload approval documentation. | NA | NA | NA
2.9 | Improving Connectivity to the Community | NA | Describe the community connectivity measures per the Criteria your project is incorporating to earn the optional points allocated. | NA | NA
2.1 | Passive Solar Heating/Cooling | If seeking one optional point for shading the site, clearly indicate on your site plan how and where more than 50% of non-roof paved areas are shaded with either plant material or structures. | NA | NA | NA
2.11 | Adaptive Reuse of Buildings | NA | NA | NA | NA
2.12 | Access to Fresh, Local Foods | Option 1: Submit your site plan that clearly indicates the location and size of the permanent food space for growing. Option 2: Submit a narrative describing your project's CSA arrangement, including point of delivery location & schedule of delivery. Option 3: Submit your context map, indicating the walk distance from the center of the site to the farmers market. | NA | NA | NA
2.13 | Advanced Certification: Site Planning, Design, and Management | NA | NA | Submit the certificate for the community program to which the neighborhood your project is located is certified. | NA
2.14 | Local Economic Development and Community Wealth Creation | Option 1: No documentation is required if project is financed by NYC HPD and receiving more than $2 million in City subsidy. Option 2: Submit your project's bid and/or contract documents supporting compliance with your strategy. Options 2 & 3: Submit a narrative describing your strategy. | NA | NA | NA
2.15a | Access to Broadband: Broadband Ready (Mandatory for New Construction and Substantial Rehab in Rural/Tribal/Small Town) | NA | NA | NA | NA
2.15b | Access to Broadband: Connectivity | NA | Provide the speed of the internet service for downloading and uploading in megabits/second. | Submit a copy of the project's internet service contract. | NA
3 Site Improvements
3.1 | Environmental Remediation | New Construction, Third Party Transfer, and Participation Loan Program projects require Phase 1 Environmental Assessments and are considered in compliance with this criterion without further documentation. All other projects must comply with the applicable environmental assessment requirements of the HPD programs. Projects not producing Phase 1 reports mustsubmit a memo outlining the assessment and remediation measures taken. | NA | NA | NA
3.2 | Minimization of Disturbance during Staging and Construction | NA | NA | NA | NA
3.3 | Ecosystem Services / Landscaping (mandatory if providing landscaping) | NA | NA | NA | NA
3.4 | Surface Stormwater Management - MANDATORY | NA | NA | NA | NA
3.5 | Surface Stormwater Management - OPTIONAL | NA | NA | NA | NA
3.6 | Efficient Irrigation and Water Reuse -MANDATORY (if irrigation is utilized) | NA | NA | NA | NA
3.7 | Efficient Irrigation and Water Reuse - OPTIONAL | NA | NA | NA | NA
4 Water
4.1 | Water Conserving Fixtures | Submit the 4.1 Water Conservation Calculator and Specifications. | NA | NA | NA
4.2 | Advanced Water Conservation | The documentation uploaded for compliance with 4.1 satisfies the documentation for this criterion. | NA | NA | NA
4.3 | Water Quality : Lead Service Lines | NA | Describe whether or not a lead service line was present prior to construction and/or will be replaced. | NA | NA
4.3 | Water Quality: Legionella | NA | NA | No documentation is required for projects complying with NYC Local Law 77 of 2015. All other projects: Include your legionella water management program in your Operations & Maintenance Manual for Criterion 8.1. Include keeping hot water above 140°F until the point of use and strategies to ensure that water does not stagnate in unused pipe sections or vacation locations. | NA
4.3 | Water Quality: Testing | NA | Describe which water quality tests will be completed (lead, nitrates, arsenic, and/or coliform bacteria). | Upload the project's water quality testing results. | Describe results of water quality tests and remediation activity if results were initially above listed thresholds.
4.4 | Monitoring Water Consumption and Leaks | NA | NA | NA | Provide the product name and specification for the system installed.
4.5 | Efficient Plumbing Layout and Design | NA | NA | NA | NA
4.6 | Non-Potable Water Reuse | NA | Provide the defined percentage of the project’s non-potable water needs which will not be met with a potable water source. | NA | NA
4.7 | Access to Potable Water during Emergencies | NA | No documentation is required for projects that include buildings supplying potable water with the assistance of pumps as described in NYC Plumbing Code 614. All other projects: provide a short narrative describing the location of common access point/ stored water/ well; Projects following Option 2 must include the amount of water stored. | NA | NA
5 Operating Energy
5.1a | Building Performance Standard (New Construction) | 5.1a Prescriptive Path: Submit a signed and dated letter of intent, indicating the project is completing the appropriate prescriptive path version of ENERGY STAR certification 5.1a ERI Path: Submit the NYC Overlay 5.1a Building Performance Standard ERI path template. Also submit projected ENERGY STAR ratings. 5.1a ASHRAE Path: Submit the NYC Overlay 5.1a - 5.1b Building Performance Standard ASHRAE path template. Projects complying with Criterion 5.2b Moving to Zero Energy: Near Zero Certification or Criterion 5.4 Achieving Zero Energy are not required to submit documentation showing compliance with ENERGY STAR for Criterion 5.1a. However, those projects are required to submit the appropriate 5.1a or 5.1b Building Performance Standard template to demonstrate projected operating building emissions intensity and energy use intensity (EUI). | Provide your project’s projected operating energy use intensity (EUI) in kBTU/ft2/yr and projected operating building emissions intensity in tC02e/ft2/yr as calculated by your project’s New York City Overlay Prebuild 5.1a Building Performance Standard template. Exception: Projects following the ENERGY STAR Prescriptive Path are not required to provide provide this information at Prebuild. | Submit the project’s final ENERGY STAR certificate(s). Also submit the NYC Overlay 5.1a Building Performance Standard template for your project (whether prescriptive path, ERI path, or ASHRAE path). Projects complying with Criterion 5.2b, Moving to Zero Energy: Near Zero Certification or Criterion 5.4, Achieving Zero Energy, are not required to submit documentation showing compliance with ENERGY STAR for Criterion 5.1a. However, those projects are required to submit the 5.1a Building Performance Standard template to demonstrate projected operating building emissions intensity and energy use intensity (EUI). | Provide your project’s operating energy use intensity (EUI) in kBTU/ft2/yr and operating building emissions intensity in tC02e/ft2/yr as calculated by your project’s PostbuildNYC Overlay 5.1a Building Performance Standard template.
5.1b | Building Performance Standard (Rehab) | 5.1b Prescriptive Path: Submit a signed and dated letter of intent, indicating the project is complying with the 51.b prescriptive pathway for the NYC Overlay. 5.1b ERI Path: Submit the NYC Overlay 5.1b Building Performance Standard ERI path template. Also submit projected ERI ratings. 5.1b ASHRAE Path: Submit the NYC Overlay 5.1b Building Performance Standard ASHRAE path template. Note that System-based waivers may be available at the sole discretion of HPD [or HCR] if project can demonstrate that electrification of a system or an appliance is technically or financially infeasible and building cannot meet 2050 GHG emissions limits as a result. | Provide your project’s projected operating energy use intensity (EUI) in kBTU/ft2/yr and projected operating building emissions intensity in tC02e/ft2/yr as calculated by your project’s Prebuild 5.1b Building Performance Standard template. Exception: Projects following the 5.1b Prescriptive Path do not provide EUI or emissions information. | Submit either the NYC Overlay 5.1b Building Performance Standard ERI Option template or the NYC Overlay 5.1a & 5.1b Building Performance Standard ASHARE Option template. Also submit commissioning results. If following the ERI Option, also submit confirmed HERS ratings. | Provide your project’s operating energy use intensity (EUI) in kBTU/ft2/yr and operating building emissions intensity in tC02e/ft2/yr as calculated by your project’s Postbuild NYC Overlay 5.1b Building Performance Standard template. Exception: Projects following the 5.1b Prescriptive Path do not provide EUI or emissions information.
5.2a | Moving to Zero Energy: Additional Reductions in Energy Use | Compliance will be evaluated by reviewing the template submitted for Criterion 5.1a or b. | NA | Compliance will be evaluated by reviewing the template submitted for Criterion 5.1a or b. | NA
5.2b | Moving to Zero Energy: Near Zero Certification (Mandatory for Enterprise Green Communities Certification Plus) | NA | Specify the near zero energy program to which your project is certifying. | Submit your DOE Zero Energy Home, or PHI Classic or PHIUS certificate(s). | NA
5.3a | Moving to Zero Energy: Photovoltaic/Solar Hot Water Ready | Option 1 : Photovoltaic Ready: Submit a complete DOE Zero Energy Ready Home PV Ready Checklist. Option 2: Solar Hot Water Ready Submit a complete DOE Zero Energy Ready Home Solar Hot Water Ready Checklist. | NA | NA | NA
5.3b | Moving to Zero Energy: Renewable Energy | NYC OVERLAY: All HPD-financed projects are REQUIRED to submit an HPD Solar Approval Form. Compliance will be further evaluated by reviewing the template submitted for Criterion 5.1. | NA | Submit: A memo signed by the PV or other renewables installer as appropriate for your project, verifying the solar capacity of the renewables in kWh, AND ensure the appropriate sections for 5.3b are updated in the appropriate 5.1 Building Performance Standard template submitted for Postbuild.
5.4 | Achieving Zero Energy (Automatic qualification for Enterprise Green Communities Certification Plus) | NA | Specify the zero energy program to which your project is certifying. | Submit your project's zero energy program certificate(s). | NA
5.5a | Moving to Zero Carbon: All-Electric Ready | NA | In the additional text field, describe the combustion fueled uses which can be seamlessly switched to electricty for compliance. | NA | NA
5.5b | Moving to Zero Carbon: All Electric | Note that System-based waivers may be available at the sole discretion of HPD [or HCR] if project can demonstrate that electrification of a system or an appliance is technically or financially infeasible and building cannot meet 2050 GHG emissions limits as a result. | NA | NA | NA
5.6 | Sizing of Heating and Cooling Equipment | NA | NA | NA | NA
5.7 | ENERGY STAR Appliances (if providing appliances) | Note that system-based waivers may be available at the sole discretion of HPD [or HCR] if project can demonstrate that electrification of an appliance is technically or financially infeasible. If waived, system should be designed to be “Electric Ready” to the extent that the utility can provide service. | NA | NA | NA
5.8 | Lighting | NA | NA | NA | NA
5.9 | Resilient Energy Systems: Floodproofing | NA | NA | NA | NA
5.1 | Resilient Energy Systems: Critical Loads | NA | Describe which critical loads will be designed to be powered by the backup system. | NA | NA
6 Materials
6.1 | Ingredient Transparency for Material Health: Products with Content Publicly Characterized and Screened to 1,000 ppm or Better | NA | NA | Submit the specification or cut sheet(s) clearly demonstrating HPD label(s) for the compliant materials. | List the compliant products specified .
6.2 | Recycled Content and Ingredient Transparency: Products including Post-Consumer Recycled Content | NA | NA | Submit the appropriate disclosure(s) for the compliant products. | List the specified products and % of recycled content for each.
6.3 | Chemical Hazard Optimization: Products with Third-Party Verification of Optimization to 100 ppm | NA | NA | Submit the appropriate disclosure(s) for the compliant products. | List the compliant products specified .
6.4 - Interior Paints, Coatings, Primers & Wallpaper. | Healthier Material Selection | NA | NA | Documentation is not required, but may be submitted in lieu of a description in the the application to clarify material content as applicable. | Provide the VOC content and emissions as appropriate for product(s) specified.
6.4 - Interior Adhesives & Sealants | Healthier Material Selection | NA | NA | Documentation is not required, but may be submitted in lieu of a description in the the application to clarify material content as applicable. | Provide the VOC content for product(s) specified.
6.4 - Flooring | Healthier Material Selection | NA | NA | Documentation is not required, but may be submitted in lieu of a description in the the application to clarify material content as applicable. | Indicate the flooring product label (FloorScore, GREEN- GUARD Gold, SCS Indoor Advantage Gold, Berkeley Analytical ClearChem, and Carpet Rug Institute Green Label Plus (CRI+) ) of the compliant product(s) specified. For non-labeled products, include the concentration levels of VOCs covered by the CPHD.
6.4 - Insulation | Healthier Material Selection | NA | NA | Documentation is not required, but may be submitted in lieu of a description in the the application to clarify material content as applicable. | Provide the alternative insulation material of the compliant insulation product(s) specified.
6.4 - Composite Wood | Healthier Material Selection | NA | NA | Documentation is not required, but may be submitted in lieu of a description in the the application to clarify material content as applicable. | Provide the formaldehyde emissions levels of the product(s) specified.
6.5 - Concrete, Steel & Insulation | Environmentally Responsible Material Selection | Submit product substitution information to HPD to add to HPD’s pending database of clean/ safe products. Products may be submitted here: GreenCommunities@hpd.nyc.gov with the subject line “Design Guidelines Product EGP” | NA | Provide the EPD for concrete, steel, and/or insulation product(s), clearly indicating Global Warming potential (GWP) | NA
6.5 - Roofing | Environmentally Responsible Material Selection | Submit product substitution information to HPD to add to HPD’s pending database of clean/ safe products. Products may be submitted here: GreenCommunities@hpd.nyc.gov with the subject line “Design Guidelines Product EGP” | NA | NA | Describe compliant product for each category in the additional information text field.
6.5 - Paving | Environmentally Responsible Material Selection | Submit product substitution information to HPD to add to HPD’s pending database of clean/ safe products. Products may be submitted here: GreenCommunities@hpd.nyc.gov with the subject line “Design Guidelines Product EGP” | NA | NA | Describe compliant product for each category in the additional information text field.
6.5 - Wood non-composite | Environmentally Responsible Material Selection | Submit product substitution information to HPD to add to HPD’s pending database of clean/ safe products. Products may be submitted here: GreenCommunities@hpd.nyc.gov with the subject line “Design Guidelines Product EGP” | NA | NA | Describe compliant product for each category in the additional information text field.
6.6 | Bath, Kitchen, Laundry Surfaces | NA | NA | NA | NA
6.7 | Regional Materials | NA | NA | NA | Provide the product specification and source location for each compliant product installed.
6.8 | Managing Moisture: Foundations | NA | NA | NA | NA
6.9 | Managing Moisture: Roofing and Wall Systems | NA | NA | NA | NA
6.1 | Construction Waste Management - MANDATORY | Describe the pathway your project is implementing; citing specific materials as applicable. | NA | Option 3: Submit your construction waste receipts. | NA
6.1 | Construction Waste Management - OPTIONAL | Provide floor plan(s) as appropriate, clearly indicating the additional space for collection of organics, cardboard or future recycling stream. | NA
6.11 | Recycling Storage | Provide floor plan(s) as appropriate, clearly indicating the additional space for collection of organics, cardboard or future recycling stream. Also note the size of the space.
7 Healthy Living Environment
I. REDUCING EXPOSURE TO TOXINS
7.1 | Radon Mitigation | NA | NA | If testing was completed, submit your project's testing results. | Describe the mitigation measures installed as appropriate for your project per the Criteria.
7.2 | Reduce Lead Hazards in Pre-1978 Buildings (Substantial Rehab on buildings constructed before 1978) | NA | NA | Submit your project's lead abatement compliance documentation. | NA
7.3 | Combustion Equipment | NA | NA | NA | NA
7.4 | Garage Isolation | NA | NA | NA | NA
7.5 | Integrated Pest Management | NA | NA | NA | NA
7.6 | Smoke-Free Building | NA | NA | Submit a copy of your project's smoke-free policy. | NA
II. MANAGING THE INDOOR ENVIRONMENT
7.7 | Ventilation | NA | NA | NA | All rehab projects: Provide the actual flowrates in CFM of the dwelling unit ventilation system(s) installed demonstrating they are within +/- 15 CFM or +/- 15% of the design values.
7.8 | Dehumidification | NA | Options 1 & 2: Describe the project's dehumidification strategy in the additional text field. | NA | NA
7.9 | Construction Pollution Management | NA | NA | Option 1: Submit your EPA Indoor airPlus label. Option 2: Upload a description of your strategy. | NA
7.1 | Noise Reduction | NA | NA | Option 1: Submit your test results. Option 2 & Option 3: Upload a description of your strategy. | NA
III. PROMOTING HEALTH THROUGH DESIGN
7.11 (MANDATORY + OPTIONAL) | Active Design: Promoting Physical Activity | Submit a description of your project's active design strategies. | NA | NA | NA
7.12 (MANDATORY + OPTIONAL) | Beyond ADA: Universal Design | Submit a description of at least 3 of your project's universal design strategies within the selected Option. | NA | NA | NA
7.13 (MANDATORY + OPTIONAL) | Healing-Centered Design | Submit a description of at least 2 healing centered design strategies in at least 2 Options. | NA | NA | NA
8 Operations, Maintenance, and Resident Engagement
8.1 | Building Operations & Maintenance Manual and Plan | Submit your project's Building Operation & Maintenance Manual & Plan outline. | NA | Submit your project's complete Building Operation & Maintenance Manual & Plan per all requirements of the NYC Overlay. | NA
8.2 | Emergency Management Manual | Submit your project's Emergency Management Manual & Plan outline. | NA | Submit your project's complete Emergency Management Manual & Plan per all requirements of the NYC Overlay. | NA
8.3 | Resident Manual | Submit your project's Resident Manual outline. | NA | Submit your project's complete Resident Manual per all requirements of the NYC Overlay. | NA
8.4 | Walk-Throughs and Orientations to Property Operation | NA | NA | NA | NA
8.5 | Energy and Water Data Collection and Monitoring | NA | Indicate the Method used for compliance of the four options available in the criteria. | Ensure the appropriate utility accounts for the project are properly set up in the elected benchmarking platform per compliance with the NYC Overlay, and that Enterprise has been granted access to view the data. | NA
* Required documents not associated with a specific criterion should be uploaded on the Documents Tab of the Certification Submission in the online portal at either Prebuild or Postbuild accordingly.

## II. 2020 NYC Overlay
2020 New York City OverlayDocumentation Instructions
Mandatory for all projects following the 2020 NYC Overlay/ V2 * |  |  | Prebuild |  | Postbuild
Criterion # | Criterion/Item Name | Project Type Requirements | Document(s) Required | Text for "Additional Information" Field | Document(s) Required | Text for "Describe Changes in implementation since prebuild" Field
- | HPD Prebuild Authorization Form | Mandatory for all HPD-Financed NYC Overlay projects | Submit your HPD PreBuild Authorization Form signed by and HPD Sustainability Officer as part of the HPD Instructions for Certification Process.
| Site plan(s) | Mandatory all NYC Overlay projects | Submit your project's site plan(s). Annotate for mandatory and optional criteria as specified . | - | - | -
| Context map(s) | Mandatory all NYC Overlay projects | Submit your project's\ context map. Annotate for mandatory and optional criteria as specified. | - | - | -
| Project photos | Mandatory all NYC Overlay projects | - | - | Submit project photos showing the project/site before, during and after construction. Photo files must be packaged as a ZIP file. | -
1 Integrative Design
1.1 | Integrative Design - Project Priorities Survey | Mandatory all NYC Overlay projects | In addition to the Project Priorities Survey, Complete and submit the “Exposure Screening Tool” on pages 31-32 of the NYC Climate Resiliency Design Guidelines v3.0 (or most current version of the CRDG). | NA | NA | NA
1.2 | Integrative Design - Charrettes & Coordination Meetings | Mandatory all NYC Overlay projects | Submit your Collaborative Meeting Template. AND if seeking optional points for consulting with the NYC Accelerator during pre-development (1 optional point) submit a memo describing your consultation process. If also incorporating actionable strategies determined in the consultation (2 optional points), submit a memo that also describes the strategies. | NA | NA | If incorporating actionable strategies determined in the NYC Accelerator consultation, confirm the strategies incorporated.
1.3 | Integrative Design - Documentation | Mandatory all NYC Overlay projects | Submit your Division 1 Section 01 81 13 Sustainable Design Requirements, or other specifications as necessary for the general contractor to understand the requirements and how they will be verified. | Note the type of specification submitted for compliance. | NA | NA
1.4 | Integrative Design - Construction Management | Mandatory all NYC Overlay projects | Submit a narrative outlining your contractor, subcontractor and consultant education plan per the criteria. | NA | NA | NA
1.5 | Design for Health and Well-Being: Health Action Plan | Optional ¦ 12 points for Steps 1–6; Additional 3 points for Step 7 | Submit documentation of Steps 1-6 of your Health Action Plan process per the criteria. | NA | Submit your monitoring plan in accordance with Step 7 of your Health Action Plan process in the criteria. | NA
1.6 | Resilient Communities: Multi-Hazard Risk / Vulnerability Assessment | Optional ¦ 10 points | Submit your four-part assessment and a short description of how this may impact your design, including the two strategies selected. | NA | NA | Briefly describe the resilience strategies that were incorporated into your project as a result of the assessment completed at Prebuild.
1.7 | Resilient Communities: Strengthening Cultural Resilience | Optional ¦ 8 points | Option 1: Submit the 1.7 Cultural Resilience Assessment worksheet; Option 2: Submit the Cultural Advisory Group worksheet. | NA | NA | NA
2 Location + Neighborhood Fabric
2.1 | Sensitive Site Protection | Mandatory all NYC Overlay projects | Option 1: Submit your site plan. Option 2: Submit your site plan, AND submit your ERPZ map, illustrating the ecologically sensitive feature(s) present on your site in accordance with the requirements in the criteria. | Option 2: Note the ecologically sensitive feature(s) on your project site that will be illustrated on your ERPZ map in the additional information field | NA | NA
2.2 | Connections to Existing Development and Infrastructure (New construction, urban/suburban only) | All NYC Overlay projects are required to meet this criterion but no documentation is required; assumed as-of-right for NYC properties. | NA | NA | NA | NA
2.3 | Compact Development (New Construction only) | All NYC Overlay projects are required to meet this criterion but no documentation is required; assumed as-of-right for NYC properties. | NA | Using the Center for Neighborhood Technology Residential Density Calculator (https://apps.cnt.org/residential-density/), provide the existing residential density of your project site census block group, and the residential density calculation (dwelling units / acre) for your project. Projects in Rural/Tribal/Small Town locations that do not have zoning requirements are not required to provide additional information. | NA | NA
2.4 | Compact Development | Optional ¦ 5,7 pts | NA | Using the Center for Neighborhood Technology Residential Density Calculator (https://apps.cnt.org/residential-density/), provide the existing residential density of your project site census block group, and the residential density calculation (dwelling units / acre) for your project. Projects in Rural/Tribal/Small Town locations that do not have zoning requirements are not required to provide additional information. | NA | NA
2.5 | Proximity to Services & Community resources (New Construction only) | All NYC Overlay projects are required to meet this criterion but no documentation is required; assumed as-of-right for NYC properties. | NA | NA | NA | NA
2.6 | Preservation of and Access to Open Space for Rural/Tribal/Small Towns | Mandatory for New Construction Rural/Tribal/Small Town; N/A NYC Overlay Projects | Option 1: Submit your context map. On your context map, indicate the center of the site and illustrate the walk distance from the center of the site to the public open space. Option 2: Submit your site plan highlighting the permanent open space accessible to all residents. Clearly illustrate paved and non-paved areas within this space as applicable to your project. | Option 2: Provide the % of permanent open space your project has set aside, the % of this open space that is paved if applicable to your project, and the calculation(s) for how these percentages were reached. | NA | NA
2.7 | Preservation of and Access to Open Space | Optional ¦ 6 points maximum | Option 1: Submit your context map. On your context map, indicate the center of the site and illustrate the walk distance from the center of the site to the public open space. Options 2 & 3: Submit your site plan highlighting the permanent open space accessible to all residents. Clearly illustrate paved and non-paved areas within this space as applicable to your project. Option 4: Submit your site plan per above, and submit a copy of the written preservation / conservation policy for the set-aside land for 15 years. | Option 2-4: Provide the % of permanent open space your project has set aside, the % of this open space that is paved if applicable to your project, and the calculation(s) for how these percentages were reached. | NA | NA
2.8 | Access to Transit (Mandatory for New Construction Urban/Suburban; optional for all others) | All NYC Overlay projects are required to meet the component of this criterion regarding distance between project and transit services, but no documentation is required; assumed as-of-right for NYC properties. Points are still available for projects that demonstrate that they also qualify for the bike lanes component of the criterion. And, points are available for New Construction or Rehabilitation projects that demonstrate that they have received approval for a reduction in parking minimums for the project. | If locating the project along dedicated bike trails or lanes, per the criteria (seeking 2 optional points), highlight the qualifying bike lanes on your context map. If demonstrating the project has received approval for reduction in parking minimum (2 optional points), upload approval documentation. | NA | NA | NA
2.9 | Improving Connectivity to the Community | Optional ¦ 2–8 points | NA | Describe the community connectivity measures per the Criteria your project is incorporating to earn the optional points allocated. | NA | NA
2.1 | Passive Solar Heating/Cooling | Optional ¦ 5 points maximum NYC Overlay New Construction projects may also achieve points for this criterion through the window shading option described in the criterion. 1 point is also available for projects that demonstrate that more than 50% of non-roof paved areas are shaded with either plant material or structures. | If seeking one optional point for shading the site, clearly indicate on your site plan how and where more than 50% of non-roof paved areas are shaded with either plant material or structures. | NA | NA | NA
2.11 | Adaptive Reuse of Buildings | Optional ¦ 6 points | NA | NA | NA | NA
2.12 | Access to Fresh, Local Foods | Optional ¦ 6 points | Option 1: Submit your site plan that clearly indicates the location and size of the permanent food space for growing. Option 2: Submit a narrative describing your project's CSA arrangement, including point of delivery location & schedule of delivery. Option 3: Submit your context map, indicating the walk distance from the center of the site to the farmers market. | NA | NA | NA
2.13 | Advanced Certification: Site Planning, Design, and Management | Optional ¦ 8 points | NA | NA | Submit the certificate for the community program to which the neighborhood your project is located is certified. | NA
2.14 | Local Economic Development and Community Wealth Creation | Optional ¦ 6 points maximum | Option 1: No documentation is required if project is financed by NYC HPD and receiving more than $2 million in City subsidy. Option 2: Submit your project's bid and/or contract documents supporting compliance with your strategy. Options 2 & 3: Submit a narrative describing your strategy. | NA | NA | NA
2.15a | Access to Broadband: Broadband Ready (Mandatory for New Construction and Substantial Rehab in Rural/Tribal/Small Town) | N/A for NYC Overlay projects. Mandatory for New Construction and Substantial Rehabilitation projects in Rural/Tribal/Small Town locations | NA | NA | NA | NA
2.15b | Access to Broadband: Connectivity | Optional ¦ 3, 6 points | NA | Provide the speed of the internet service for downloading and uploading in megabits/second. | Submit a copy of the project's internet service contract. | NA
3 Site Improvements
3.1 | Environmental Remediation | Mandatory for all NYC Overlay projects | New Construction, Third Party Transfer, and Participation Loan Program projects require Phase 1 Environmental Assessments and are considered in compliance with this criterion without further documentation. All other projects must comply with the applicable environmental assessment requirements of the HPD programs. Projects not producing Phase 1 reports mustsubmit a memo outlining the assessment and remediation measures taken. | NA | NA | NA
3.2 | Minimization of Disturbance during Staging and Construction | Mandatory for all NYC Overlay projects | NA | NA | NA | NA
3.3 | Ecosystem Services / Landscaping (mandatory if providing landscaping) | Mandatory, if providing landscaping | NA | NA | NA | NA
3.4 | Surface Stormwater Management - MANDATORY | All NYC Overlay projects are required to meet this criterion but no documentation is required; assumed as-of-right for NYC properties. | NA | NA | NA | NA
3.5 | Surface Stormwater Management - OPTIONAL | Optional ¦ 6 points | NA | NA | NA | NA
3.6 | Efficient Irrigation and Water Reuse -MANDATORY (if irrigation is utilized) | Mandatory, if permanent irrigation is utilized | NA | NA | NA | NA
3.7 | Efficient Irrigation and Water Reuse - OPTIONAL | Optional ¦ 4 or 6 points | NA | NA | NA | NA
4 Water
4.1 | Water Conserving Fixtures | Mandatory for all NYC Overlay projects | Submit the 4.1 Water Conservation Calculator and Specifications. | NA | NA | NA
4.2 | Advanced Water Conservation | Mandatory for all NYC Overlay projects | The documentation uploaded for compliance with 4.1 satisfies the documentation for this criterion. | NA | NA | NA
4.3 | Water Quality : Lead Service Lines | Optional ¦3 & Mandatory Mandatory for Substantial Rehabs of buildings built before 1986; | NA | Describe whether or not a lead service line was present prior to construction and/or will be replaced. | NA | NA
4.3 | Water Quality: Legionella | Mandatory for all NYC Overlay multifamily buildings with either a cooling tower, a centralized hot water system, or more than 10 stories in height. Compliance with Local Law 77 of 2015, which addresses cooling towers and Legionella [Administrative Code section 28-317] aligns with the Legionella water management program requirements in this criterion; no documentation is required for compliance with this portion of the criterion. | NA | NA | No documentation is required for projects complying with NYC Local Law 77 of 2015. All other projects: Include your legionella water management program in your Operations & Maintenance Manual for Criterion 8.1. Include keeping hot water above 140°F until the point of use and strategies to ensure that water does not stagnate in unused pipe sections or vacation locations. | NA
4.3 | Water Quality: Testing | Optional ¦ 8 points | NA | Describe which water quality tests will be completed (lead, nitrates, arsenic, and/or coliform bacteria). | Upload the project's water quality testing results. | Describe results of water quality tests and remediation activity if results were initially above listed thresholds.
4.4 | Monitoring Water Consumption and Leaks | Optional NYC Overlay Monderate Rehabs ¦4 points Mandatory for all NYC Overlay New Construction and Substantial Rehab projects ¦4 points | NA | NA | NA | Provide the product name and specification for the system installed.
4.5 | Efficient Plumbing Layout and Design | Optional ¦ 4 points | NA | NA | NA | NA
4.6 | Non-Potable Water Reuse | Optional ¦ 6 points | NA | Provide the defined percentage of the project’s non-potable water needs which will not be met with a potable water source. | NA | NA
4.7 | Access to Potable Water during Emergencies | Optional ¦ 8 points | NA | No documentation is required for projects that include buildings supplying potable water with the assistance of pumps as described in NYC Plumbing Code 614. All other projects: provide a short narrative describing the location of common access point/ stored water/ well; Projects following Option 2 must include the amount of water stored. | NA | NA
5 Operating Energy
5.1a | Building Performance Standard (New Construction) | Mandatory for all NYC Overlay New Construction projects | 5.1a Prescriptive Path: Submit a signed and dated letter of intent, indicating the project is completing the appropriate prescriptive path version of ENERGY STAR certification 5.1a ERI Path: Submit the 5.1a Building Performance Standard ERI path template. Also submit projected ENERGY STAR ratings. 5.1a ASHRAE Path: Submit the 5.1a - 5.1b Building Performance Standard ASHRAE path template. Projects complying with Criterion 5.2b Moving to Zero Energy: Near Zero Certification or Criterion 5.4 Achieving Zero Energy are not required to submit documentation showing compliance with ENERGY STAR for Criterion 5.1a. However, those projects are required to submit the 5.1a Building Performance Standard template to demonstrate projected operating building emissions intensity and energy use intensity (EUI). | Provide your project’s projected operating energy use intensity (EUI) in kBTU/ft2/yr and projected operating building emissions intensity in tC02e/ft2/yr as calculated by your project’s Prebuild 5.1a Building Performance Standard template. Exception: Projects following the ENERGY STAR Prescriptive Path do not provide this information at Prebuild. | Submit the project’s final ENERGY STAR certificate(s). Also submit the 5.1a Building Performance Standard template for your project (whether prescriptive path, ERI path, or ASHRAE path). Projects complying with Criterion 5.2b, Moving to Zero Energy: Near Zero Certification or Criterion 5.4, Achieving Zero Energy, are not required to submit documentation showing compliance with ENERGY STAR for Criterion 5.1a. However, those projects are required to submit the 5.1a Building Performance Standard template to demonstrate projected operating building emissions intensity and energy use intensity (EUI). | Provide your project’s operating energy use intensity (EUI) in kBTU/ft2/yr and operating building emissions intensity in tC02e/ft2/yr as calculated by your project’s Postbuild 5.1a Building Performance Standard template.
5.1b | Building Performance Standard (Rehab) | Mandatory for all NYC Overlay rehab projects | Submit either the 5.1b Building Performance Standard ERI Option template or the 5.1a & 5.1b Building Performance Standard ASHRAE Option template. If following the ERI Option, also submit projected HERS ratings. | Provide your project’s projected operating energy use intensity (EUI) in kBTU/ft2/yr and projected operating building emissions intensity in tC02e/ft2/yr as calculated by your project’s Prebuild 5.1b Building Performance Standard template. | Submit either the 5.1b Building Performance Standard ERI Option template or the 5.1a & 5.1b Building Performance Standard ASHARE Option template. Also submit commissioning results. If following the ERI Option, also submit confirmed HERS ratings. | Provide your project’s operating energy use intensity (EUI) in kBTU/ft2/yr and operating building emissions intensity in tC02e/ft2/yr as calculated by your project’s Postbuild 5.1b Building Performance Standard template.
5.2a | Moving to Zero Energy: Additional Reductions in Energy Use | Optional ¦ 5 - 12 points | Compliance will be evaluated by reviewing the template submitted for Criterion 5.1. | NA | Compliance will be evaluated by reviewing the template submitted for Criterion 5.1. | NA
5.2b | Moving to Zero Energy: Near Zero Certification (Mandatory for Enterprise Green Communities Certification Plus) | Optional ¦ 15 points maximum ¦ Mandatory for Enterprise Green Communities Plus | NA | Specify the near zero energy program to which your project is certifying. | Submit your DOE Zero Energy Home, or PHI Classic or PHIUS certificate(s). | NA
5.3a | Moving to Zero Energy: Photovoltaic/Solar Hot Water Ready | Optional ¦ 3-6 points | Option 1 : Photovoltaic Ready: Submit a complete DOE Zero Energy Ready Home PV Ready Checklist. Option 2: Solar Hot Water Ready Submit a complete DOE Zero Energy Ready Home Solar Hot Water Ready Checklist. | NA | NA | NA
5.3b | Moving to Zero Energy: Renewable Energy | Optional ¦ 8 points maximum | NYC OVERLAY: All HPD-financed projects are REQUIRED to submit an HPD Solar Approval Form. Compliance will be further evaluated by reviewing the template submitted for Criterion 5.1. | NA | Submit: A memo signed by the PV or other renewables installer as appropriate for your project, verifying the solar capacity of the renewables in kWh, AND ensure the appropriate sections for 5.3b are updated in the appropriate 5.1 Building Performance Standard template submitted for Postbuild.
5.4 | Achieving Zero Energy (Automatic qualification for Enterprise Green Communities Certification Plus) | Optional ¦ 24 points ¦ Automatic Qualification for Enterprise Green Communities Plus | NA | Specify the zero energy program to which your project is certifying. | Submit your project's zero energy program certificate(s). | NA
5.5a | Moving to Zero Carbon: All-Electric Ready | Optional ¦ 5 points maximum | NA | In the additional text field, describe the combustion fueled uses which can be seamlessly switched to electricty for compliance. | NA | NA
5.5b | Moving to Zero Carbon: All Electric | Optional ¦ 6, 15 points | NA | NA | NA | NA
5.6 | Sizing of Heating and Cooling Equipment | Mandatory for NYC Overlay New Construction and rehabs that include replacement of heating and cooling equipment | NA | NA | NA | NA
5.7 | ENERGY STAR Appliances (if providing appliances) | Mandatory for NYC Overlay New Construction and rehabs providing appliances | NA | NA | NA | NA
5.8 | Lighting | Mandatory for NYC Overlay New Construction and Substantial Rehab projects, and new lighting in Moderate Rehab projects | NA | NA | NA | NA
5.9 | Resilient Energy Systems: Floodproofing | NYC OVERLAY: All NYC projects located within the FEMA 100-year flood zone are already required to comply with NYC Building Code Appendix G: Flood-Resistant Construction. Points can be achieved through this optional criterion for all projects within current and future flood zones by going above and beyond building code to mitigate future flood risk. See Optional pathways in the NYC Overlay Checklist | NA | NA | NA | NA
5.1 | Resilient Energy Systems: Critical Loads | Optional ¦4, 8 points | NA | Describe which critical loads will be designed to be powered by the backup system. | NA | NA
6 Materials
6.1 | Ingredient Transparency for Material Health: Products with Content Publicly Characterized and Screened to 1,000 ppm or Better | Optional ¦ 8 points maximum | NA | NA | Submit the specification or cut sheet(s) clearly demonstrating HPD label(s) for the compliant materials. | List the compliant products specified .
6.2 | Recycled Content and Ingredient Transparency: Products including Post-Consumer Recycled Content | Optional ¦ 3 points maximum | NA | NA | Submit the appropriate disclosure(s) for the compliant products. | List the specified products and % of recycled content for each.
6.3 | Chemical Hazard Optimization: Products with Third-Party Verification of Optimization to 100 ppm | Optional ¦ 8 points maximum | NA | NA | Submit the appropriate disclosure(s) for the compliant products. | List the compliant products specified .
6.4 - Interior Paints, Coatings, Primers & Wallpaper. | Healthier Material Selection | Mandatory and Optional ¦ 15 points maximum ( for all of Criterion 6.4) | NA | NA | Documentation is not required, but may be submitted in lieu of a description in the the application to clarify material content as applicable. | Provide the VOC content and emissions as appropriate for product(s) specified.
6.4 - Interior Adhesives & Sealants | Healthier Material Selection | Mandatory and Optional ¦ 15 points maximum ( for all of Criterion 6.4) | NA | NA | Documentation is not required, but may be submitted in lieu of a description in the the application to clarify material content as applicable. | Provide the VOC content for product(s) specified.
6.4 - Flooring | Healthier Material Selection | Mandatory and Optional ¦ 15 points maximum ( for all of Criterion 6.4) | NA | NA | Documentation is not required, but may be submitted in lieu of a description in the the application to clarify material content as applicable. | Indicate the flooring product label (FloorScore, GREEN- GUARD Gold, SCS Indoor Advantage Gold, Berkeley Analytical ClearChem, and Carpet Rug Institute Green Label Plus (CRI+) ) of the compliant product(s) specified. For non-labeled products, include the concentration levels of VOCs covered by the CPHD.
6.4 - Insulation | Healthier Material Selection | Mandatory and Optional ¦ 15 points maximum ( for all of Criterion 6.4) | NA | NA | Documentation is not required, but may be submitted in lieu of a description in the the application to clarify material content as applicable. | Provide the alternative insulation material of the compliant insulation product(s) specified.
6.4 - Composite Wood | Healthier Material Selection | Mandatory and Optional ¦ 15 points maximum ( for all of Criterion 6.4) | NA | NA | Documentation is not required, but may be submitted in lieu of a description in the the application to clarify material content as applicable. | Provide the formaldehyde emissions levels of the product(s) specified.
6.5 - Concrete, Steel & Insulation | Environmentally Responsible Material Selection | Optional ¦ 12 points maximum ( for all of Criterion 6.5) | NA | NA | Provide the EPD for concrete, steel, and/or insulation product(s), clearly indicating Global Warming potential (GWP) | NA
6.5 - Roofing | Environmentally Responsible Material Selection | Optional ¦ 12 points maximum ( for all of Criterion 6.5) | NA | NA | NA | Describe compliant product for each category in the additional information text field.
6.5 - Paving | Environmentally Responsible Material Selection | Optional ¦ 12 points maximum ( for all of Criterion 6.5) | NA | NA | NA | Describe compliant product for each category in the additional information text field.
6.5 - Wood non-composite | Environmentally Responsible Material Selection | Optional ¦ 12 points maximum ( for all of Criterion 6.5) | NA | NA | NA | Describe compliant product for each category in the additional information text field.
6.6 | Bath, Kitchen, Laundry Surfaces | Mandatory for all NYC Overlay New Construction and Substantial Rehabs. NYC Overlay Moderate Rehabs that do not include work in the shower and tub areas are exempt from the shower and tub enclosure requirement | NA | NA | NA | NA
6.7 | Regional Materials | Optional ¦ 4 points maximum | NA | NA | NA | Provide the product specification and source location for each compliant product installed.
6.8 | Managing Moisture: Foundations | Mandatory for all NYC Overlay New Construction projects and for all rehab projects with either basement and/or crawl space foundations. | NA | NA | NA | NA
6.9 | Managing Moisture: Roofing and Wall Systems | Mandatory for all NYC Overlay Rehab projects that include deficiencies in or include replacing particular assemblies called out below New Construction projects are considered compliant by way of the required ENERGY STAR Water Management System Checklist. | NA | NA | NA | NA
6.1 | Construction Waste Management - MANDATORY | Mandatory for all NYC Overlay projects | Describe the pathway your project is implementing; citing specific materials as applicable. | NA | Option 3: Submit your construction waste receipts. | NA
6.1 | Construction Waste Management - OPTIONAL | Optional ¦ 6 points maximum | Provide floor plan(s) as appropriate, clearly indicating the additional space for collection of organics, cardboard or future recycling stream. | NA
6.11 | Recycling Storage | Mandatory for all NYC Overlay New Construction and Substantial Rehab projects ¦ 2 pts. Optional for NYC Overlay Moderate Rehab projects¦ 2 points | Provide floor plan(s) as appropriate, clearly indicating the additional space for collection of organics, cardboard or future recycling stream.
7 Healthy Living Environment
I. REDUCING EXPOSURE TO TOXINS
7.1 | Radon Mitigation | Mandatory for all NYC Overlay New Construction and Substantial Rehab projects | NA | NA | If testing was completed, submit your project's testing results. | Describe the mitigation measures installed as appropriate for your project per the Criteria.
7.2 | Reduce Lead Hazards in Pre-1978 Buildings (Substantial Rehab on buildings constructed before 1978) | Mandatory for all NYC Overlay Substantial Rehab projects built before 1978. | NA | NA | Submit your project's lead abatement compliance documentation. | NA
7.3 | Combustion Equipment | Mandatory for all NYC Overlay projects | NA | NA | NA | NA
7.4 | Garage Isolation | Mandatory for all NYC Overlay projects | NA | NA | NA | NA
7.5 | Integrated Pest Management | Mandatory for all NYC Overlay projects | NA | NA | NA | NA
7.6 | Smoke-Free Building | Common area requirement is mandatory for all NYC Overlay Projects. All NYC Overlay projects, except those serving 100% permanent supportive housing residents, are REQUIRED to expand the policy to include all indoor spaces in the property¦ 10 points; | NA | NA | Submit a copy of your project's smoke-free policy. | NA
II. MANAGING THE INDOOR ENVIRONMENT
7.7 | Ventilation | Mandatory for NYC Overlay New Construction and Substantial Rehab; Optional for Moderate Rehab ¦ 12 points max | NA | NA | NA | All rehab projects: Provide the actual flowrates in CFM of the dwelling unit ventilation system(s) installed demonstrating they are within +/- 15 CFM or +/- 15% of the design values.
7.8 | Dehumidification | Mandatory for all NYC Overlay projects following Criterion 5.2a, 5.2b or 5.4. Optional for all other properties ¦ 5 points | NA | Options 1 & 2: Describe the project's dehumidification strategy in the additional text field. | NA | NA
7.9 | Construction Pollution Management | Mandatory for NYC Overlay New Construction and Substantial Rehab; Optional for Moderate Rehab ¦ 3 points | NA | NA | Option 1: Submit your EPA Indoor airPlus label. Option 2: Upload a description of your strategy. | NA
7.1 | Noise Reduction | Optional ¦ 3 points | NA | NA | Option 1: Submit your test results. Option 2 & Option 3: Upload a description of your strategy. | NA
III. PROMOTING HEALTH THROUGH DESIGN
7.11 (MANDATORY + OPTIONAL) | Active Design: Promoting Physical Activity | Mandatory and Optional ¦ 8 points: All NYC Overlay projects must comply with at least one of Criterion 7.11, 7.12, or 7.13. | Submit a description of your project's active design strategies. | NA | NA | NA
7.12 (MANDATORY + OPTIONAL) | Beyond ADA: Universal Design | Mandatory and Optional ¦ 8 points: All NYC Overlay projects must comply with at least one of Criterion 7.11, 7.12, or 7.13. | Submit a description of at least 3 of your project's universal design strategies within the selected Option. | NA | NA | NA
7.13 (MANDATORY + OPTIONAL) | Healing-Centered Design | Mandatory and Optional ¦ 8 points: All projects must comply with at least one of Criterion 7.11, 7.12, or 7.13. | Submit a description of at least 2 healing centered design strategies in at least 2 Options. | NA | NA | NA
8 Operations, Maintenance, and Resident Engagement
8.1 | Building Operations & Maintenance Manual and Plan | Mandatory for all NYC Overlay Multifamily Projects | Submit your project's Building Operation & Maintenance Manual & Plan outline. | NA | Submit your project's complete Building Operation & Maintenance Manual & Plan. | NA
8.2 | Emergency Management Manual | Mandatory for all NYC Overlay Multifamily Projects | Submit your project's Emergency Management Manual & Plan outline. | NA | Submit your project's complete Emergency Management Manual & Plan. | NA
8.3 | Resident Manual | Mandatory for all NYC Overlay projects | Submit your project's Resident Manual outline. | NA | Submit your project's complete Resident Manual. | NA
8.4 | Walk-Throughs and Orientations to Property Operation | Mandatory for all NYC Overlay projects | NA | NA | NA | NA
8.5 | Energy and Water Data Collection and Monitoring | Mandatory for all NYC Overlay projects, except for detached single-family buildings. | NA | Indicate the Method used for compliance of the four options available in the criteria. | Ensure the appropriate utility accounts for the project are properly set up in the elected benchmarking platform per compliance with the NYC Overlay, and that Enterprise has been granted access to view the data. | NA
* Required documents not associated with a specific criterion should be uploaded on the Documents Tab of the Certification Submission in the online portal at either Prebuild or Postbuild accordingly.