## Sheet1
2015 ENTERPRISE GREEN COMMUNITIES CRITERIA
SUPPLEMENTAL DOCUMENTATION TEMPLATE
Criteria # 4.2 | Advanced Water Conservation
2017-11-15
Optional for all projects
Instructions: Complete the fields marked below. This document is intended to assist project teams pursuing Enterprise Green Communities Ceritification that are using the 2015 Criteria. Once completed, this document may be uploaded with your other project information at the Green Communities Certification Portal: www.enterprisecommunity.org/certification.
Note: To read Criteria 4.2 Advanced Water Conservation in its entirety, please review 2015 Enterprise Green Communities Criteria Manual, which can be found online at www.enterprisecommunity.org/criteria.
Date
Project Name
Project Address
Project City State, ZIP
Contact Name
Contact Email
Contact Phone
REQUIREMENTS
Reduce water consumption by one of the two following methods:
| Option 1 [3 point maximum] | [6 empty] | NOTE: If you are claiming optional points for Criteria 4.2 Advanced Water Conservation using Option 1, do not use the calculator below. Instead, explain the water-conserving fixtures were installed in your project via the Green Communities Certification Portal: www.enterprisecommunity.org/certification.
Install water-conserving fixtures in all units and all common space bathrooms with the following specifications:
• Toilets: WaterSense-labeled and 1.1 gpf (gallons per flush) or less [1 point]
• Showerheads: WaterSense-labeled and 1.5 gpm (gallons per minute) or less [1 point]
• Kitchen faucets: 1.5 gpm or less AND Lav faucets: WaterSense-labeled and 1.0 gpm or less [1 point]
OR
Option 2 [6 maximum points]
Reduce total indoor water consumption by at least 30% compared to the baseline indoor water consumption chart below through a combination of fixtures of your choosing. Calculate and compare your project per-person per-day indoor water consumption to the baseline water consumption chart below [adapted from: LEED for Homes v4, Table 1: Indoor Water Baseline Consumption (per person per day)]. When making your comparison, assume that the baseline project has the same type of fixtures as your project in question. For instance, if your project does not include dishwashers, do not include dishwasher water consumption in your baseline project calculation for comparison.
| PERCENTAGE OF REDUCTION IN TOTAL INDOOR WATER CONSUMPTION |  | NUMBER OF OPTIONAL POINTS
| 30% |  | 4 points
| 50% |  | 5 points
| 70% |  | 6 points
BASELINE INDOOR WATER CONSUMPTION (PER PERSON PER DAY)
| FIXTURE |  | BASELINE FLUSH OR FLOW RATE |  | EST. FIXTURE USAGE |  | ESTIMATED WATER USAGE
| Shower (per compartment) |  | 2.5 gpm |  | 6.15 minutes |  | 15.4 gallons
| Lav, Kitchen faucet |  | 2.2 gpm |  | 5.0 minutes |  | 11 gallons
| Toilet |  | 1.6 gpf |  | 5.05 flushes |  | 8 gallons
| Clothes washer |  | 8.4 WF* top loading and 4.7 WF front loading |  | 0.37 cycles @ 3.5 ft3 |  | 13.2 gallons top loading and 7.4 gallons front loading
| Dishwasher |  | 5.0 gpc standard and 3.5 gpc small |  | 0.1 cycles |  | 0.5 gallons standard and 0.4 gallons small
* WF = Water Factor
CALCULATORS - BASELINE INDOOR WATER CONSUMPTION
Step 1. Calculate your Baseline Indoor Water Consumption using the matrix below
| 1. In the blue cell below, input the number of showerheads installed in your project. |  | 2. In the blue cell below, input the number of lavatory faucets installed in your project. |  | 3. In the blue cell below, input the number of kitchen faucets installed in your project. |  | 4. In the blue cell below, input the number of toilets installed in your project. |  | 5. In the blue cells below, first select the type of clothes washers installed. Then input the number of clothes washers installed in your project. If no clothes washers were installed, be sure to put a "0" for "# of clothes washers." |  | 6. In the blue cells below, first select the type of dishwashers installed. Then input the number of dishwashers installed in your project. If no dishwashers were installed, be sure to put a "0" for "# of dishwashers."
| showerheads |  | lav faucets |  | kitchen faucets |  | toilets |  | clothes washers |  | dishwasher
| 2.5 | gpm | 2.2 | gpm | 2.2 | gpm | 1.6 | gpf | select type of clothes washer |  | select type of dishwasher
| 6.15 | minutes | 5 | minutes | 5 | minutes | 5.05 | flush | 0 | gallons | 0 | gallons/cycle
| # of showerheads |  | # of lav faucets |  | # of kitchen faucets |  | # of toilets |  | # of clothes washers |  | # of dishwashers
BASELINE INDOOR WATER CONSUMPTION
| #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | = | #VALUE! | gallons
Step 2. Calclate your Actual Indoor Water Consumption (per person per day) using the matrix below
| 1. In the blue cell below, input the flow rate in gallons per minute of showerheards installed in your project. |  | 2. In the blue cell below, input the the flow rate in gallons in per minute of lavatory faucets installed in your project. |  | 3. In the blue cell below, input the flow rate in gallons per minute of kitchen faucets installed in your project. |  | 4. In the blue cell below, input the gallons per flush of toilets installed in your project. |  | 5. If you know the Water Factor (WF) of your clothes washer, follow method 1. If you do not know the WF, follow method 2. If you have an ENERGY STAR-certified washer, you can find your WF online: http://www.energystar.gov/productfinder/product/certified-clothes-washers |  | 6. In the blue cell below, input the Water Usage (in gallons) of the dishwasher(s) installed in your project.
| showerheads |  | lav faucets |  | kitchen faucets |  | toilets |  | clothes washers |  | dishwasher
| 0 | gpm | 0 | gpm | 0 | gpm | 0 | gpf |  |  | 0 | gallons
Method 1
1. Input the Water Factor in cell the blue cell (J65)
WF
2. Input the capacity of your clothes washer in the blue cell (J67)
cu ft
[9 empty] | 0 | gallons
Method 2
Based on when your clothes washer was manufactured, select the type of washer below. If your clothes washer was manufactured after March 7, 2015, your must also input the capacity of your clothes washer in cell J79.
[9 empty] | before 2007 | select the type of washer
[9 empty] | 0 | gallons
or
[9 empty] | between 2007 and March 7, 2015 | select the type of washer
[9 empty] | 0 | gallons
or
[9 empty] | after March 7, 2015 | select the type of washer
[9 empty] | 0 | WF
cu ft
[9 empty] | 0 | gallons
| 6.15 | minutes | 5 | minutes | 5 | minutes | 5.05 | flush | 0 | gallons | 0 | gallons
| # of showerheads |  | # of lav faucets |  | # of kitchen faucets |  | # of toilets |  | # of clothes washers |  | # of dishwashers
ACTUAL INDOOR WATER CONSUMPTION
| #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | = | #VALUE! | gallons
PERCENTAGE IMPROVEMENT OVER BASELINE
#VALUE!
[9 empty] | select type of clothes washer |  | select type of dishwasher
[9 empty] | 8.4 WF top loading |  | 5.0 gpc (gallons per cycle) standard
| not used - for reference only | [7 empty] | 4.7 WF front loading |  | 3.5 gpc (gallons per cycle) small
[9 empty] | 0 |  | 0
[9 empty] | 13.2 |  | 0.5
[9 empty] | 7.4 |  | 0.4
Before 2010
After 2010
ENERGY STAR Certified?
Insert WF
[9 empty] | ENERGY STAR Certified? | yes | no | 13
Volume (cu.ft)
|  |  |  | TOP loader | not ES
[6 empty] | Jan 2011 - March 2015 | 9.5 |  | Front Loader | yes | no
[6 empty] | March 2015 - Dec 31, 2017 | 8 |  | Top Loader | yes | no
[6 empty] | Jan 1, 2018 - beyond | 6.5 |  | ENERGY STAR certified? | yes | no
|  |  |  | FRONT loader | not ES | Jan 2011 - March 2015 | 9.5 |  | When was the purchased?
[6 empty] | March 2015 - beyond | 4.5
|  |  |  | ENERGY STAR |  |  | 6
before February 28, 2015
[9 empty] | select | select the type of washer |  | reference
[9 empty] | before February 28, 2015 | top-loading | 40 | << http://www.allianceforwaterefficiency.org/Residential_Clothes_Washer_Introduction.aspx |  | 9.5
[9 empty] | after March 1, 2015 | front-loading | 15 | << http://www.allianceforwaterefficiency.org/Residential_Clothes_Washer_Introduction.aspx
after March 7, 2015
[8 empty] | in use |  | select the type of washer
[10 empty] | top-loading, compact capacity (<1.6 cu ft) | 14.4
[10 empty] | top-loading, standard capacity (>1.6 cu ft) | 8.4
[10 empty] | front-loading, compact capacity ( <1.6 cu ft) | 8.3
[10 empty] | front-loading, standard capacity (>1.6 cu ft) | 4.7
[9 empty] | before_2007_washers | before 2007
[10 empty] | select the type of washer |  |  |  | pre 2007 - avg washer uses 40 gallons per load (see 1999 AWWA Residential Water Use Report.
[10 empty] | all washers, 11.4 WF | 11 .4 WF | 14.78 |  | calculation: gallons = WF * 3.5 *0.37 |  | 3.5 and 0.37 figures taken from 2015 EGC Criteria, 4.2. Kept the same here to have apples to apples comparison
40 gallons / 3.5 cu ft = 11.4 WF
[9 empty] | between_2007_2015_washers | between 2007 - March 7, 2015
[10 empty] | select the type of washer |  |  |  |  | gallons = 11.4 *3.5*0.37
[10 empty] | all washers, 9.5 WF | 9.5 WF | 12.3