## 2015 EGCC
AGING-IN-PLACE RECOMMENDATIONS
Health/Wellness/Safety
General Aging in Place Goals/Design
Emergency Preparedness
Education/Engagement
Community Access
2015 Enterprise Green Communities Criteria
Mandatory Measures & Optional Criteria
|  | M/O points | NC | SR | MR | Title / Description | Identified Criteria: Recommendations for Aging In Place Projects | Guideline References for Additional Information
1 | Integrative Design
| 1.1a | M |  |  |  | Goal Setting
|  |  | x | x | x | Develop an integrative design process that works best for your project team and intentions. At minimum, document: 1. A statement of the overall green development goals of the project and the expected intended outcomes from addressing those goals. 2. A summary of the integrative process that was used to select the green building strategies, systems and materials that will be incorporated into the project. 3. A description of how progress and success against these goals will be measured throughout the completion of design, construction and operation to ensure that the green features are included and correctly installed. | Aging-in-Place projects can present specific and unique challenges for teams and early discussion for these project types is especially important. Set goals for the level of Aging-in-Place implementation at the beginning of the project and include discussion during the charrette. Using the Aging-in-Place charrette tools will help the team identify goals and intended outcomes early in the design process. Additionally, review the recommendations for existing Green Communities Criteria below, the Aging-in-Place Guidelines and Universal Design Specifications. A key issue to consider during the programming phase is the addition of extra space, exceeding minimum requirements whenever possible. Exceeding code-required minimum clearances will provide aging residents with the needed room for themselves and potential aids, also making the space more maneuverable for residents in wheelchairs, or who may be overweight in addition to other limitations.
| 1.1b | M |  |  |  | Criteria Documentation
|  |  | x | x | x | Create design and construction documentation to include information on implementation of appropriate Enterprise Green Communities Criteria.
| 1.1c | 9 |  |  |  | Designing for Project Performance
|  |  | x | x | x | Identify how the expected performance of your project compares to the actual performance of other projects in your portfolio and/or community.
| 1.2a | M |  |  |  | Resident Health and Wellbeing: Design for Health
|  |  | x | x | x | Identify potential resident health factors and design your project to address resident health and well-being by using the matrix provided on pages 22 and 23. | Each project will have its own unique set of resident health factors. However, there are some common factors typically encountered in aging populations. When designing occupancies for older adults, health factors to consider may include reduced mental capacity, vision and hearing impairment, reduced mobility and other physical limitations, limited flexibility and loss of balance, brittle bones, incontinence, and an increased number of medical conditions. Health also tends to decline with age so risk factors may evolve over the life of the project as the population gets older. Refer to the Aging-in-Place Guidelines for design strategies that address health factors common in older adults. Planning for infrastructure to address these health factors early in design is a less costly option than renovating the building later.
| 1.2b | 12 |  |  |  | Resident Health and Wellbeing: Health Action Plan
|  |  | x | x | x | At pre-design and continuing throughout the project life cycle, collaborate with public health professionals and community stakeholders to assess, identify, implement and monitor achievable actions to enhance health-promoting features of the project and minimize features that could present health risks. Specifically, create a Health Action Plan and integrate the selected interventions and a plan for monitoring and evaluating progress per the full criterion. | Engage local Area Agencies on Aging (AAA), city/county/state departments of aging and local senior centers for assistance in identifying health risks. AARP also has state specific research resources and general information on healthy living. When creating a Health Action Plan, focus on strategies that aid in prevention of multiple health factors for aging populations. For example, design features such as gardens increase social interaction which reduces depression, provides exercise and encourages healthy eating which can reduce obesity and reduce risk of other diseases. Preventative action can reduce the likelihood that a health factor will become and issue in the future as the population ages. Encouraging active stair climbing, which uses the weight of your own body as resistance, can help promote balance and strengthen bone density which will help prevent brittle bones and increased falls in the future.
| 1.3a | M |  |  |  | Resilient Communities: Design for Resilience (New Construction & Substantial Rehab only)
|  |  | x | x |  | Given your project building type, location and expected resident population, identify a project characteristic that would most likely impact your project’s ability to withstand an unexpected weather event or loss of power. Select at least one criterion from the given list that would help mitigate that impact, and incorporate this within your project plans and design. Include a short narrative providing your rationale for selecting this criterion above the others. | Due to physical limitations, reduced cognitive response and specific medical needs, aging residents may present a unique challenge during emergency situations. Flooding presents an immediate threat as many older adults can be too weak to tread water, may get swept away in a strong current or can't get out of rising water if they fall. Floodproofing the building and site, including structural resistance, will be important if potential for flooding already exists. Residences intended for older adults should not be located near a flood zone.
A power outage also presents a significant threat as aging residents may have difficulty evacuating in an emergency due to physical limitations and other health issues, and will need to remain in the building. Medical conditions may require equipment that needs electricity or medications that require refrigeration. Islandable power would be important in this situation to keep the building, or a portion of the building, operational with essential functions. Passive design strategies may aid by providing heating, cooling and light during a loss of power. If residents will remain in the building, access to potable water will also be critical.
| 1.3b | 15 |  |  |  | Resilient Communities: Multi-Hazard Risk / Vulnerability Assessment
|  |  | x | x | x | Carry out a Vulnerabilities Assessment and implement building elements designed to enable the project to adapt to, and mitigate, climate impacts given the project location, building /construction type and resident population. | Consider the limitations of aging residents discussed in 1.3a above when designing features to help the building perform during natural disasters. In addition to the recommendations listed above, both audible and visual alert systems should be designed and installed for emergency situations as older adults may have vision or hearing problems. Aging residents with limited mobility may have difficulty using the stairs to move to safer areas of the building. Consider providing areas of refuge in stairs cores with phone access (or some other form of communication), or glow-in-the dark strips to help define edges of landings and stair edges to prevent falls. If aging residents are able to get to a central community area within the building, emergency generators could be smaller in size to power only that portion of the building.
2 | Location + Neighborhood Fabric
| 2.1 | M |  |  |  | Sensitive Site Selection (New Construction only)
|  |  | x |  |  | Do not locate new projects, including buildings, built structures, roads or parking areas, on portions of sites that meet any of the following provisions: 1. Land within 100 feet of wetlands, including isolated wetlands or streams. Maintain or establish riparian buffer using native vegetation where possible. Bike and foot paths are allowed if at least 25 feet from the wetlands boundary. 2. Land on slope greater than 15%. 3. Land with prime soils, unique soils or soils of state significance per USDA designations. 4. Public parkland. 5. Land that is specifically identified as an existing habitat for any species on federal or state threatened or endangered lists. 6. Land that is within the Special Flood Hazard Areas (SFHA) as identified by FEMA on the Flood Insurance Rate Map.
| 2.2 | M |  |  |  | Connections to Existing Development and Infrastructure (New Construction only, except for projects eligible for USDA funding)
|  |  | x |  |  | Locate the project on a site with access to existing roads, water, sewers and other infrastructure within or contiguous to (having at least 25% of the perimeter bordering) existing development. Connect the project to the pedestrian grid.
| 2.3 | M |  |  |  | Compact Development (New Construction only)
|  |  | x |  |  | At a minimum, build to the residential density (dwelling units / acre) of the census block group in which your project is located.
| 2.4 | 5 or 7 |  |  |  | Compact Development
|  |  | x | x | x | Exceed the residential density (dwelling units / acre) of the census block group in which your project is located. Exceed by 2x for [5 points]; exceed by 3x for [7 points].
| 2.5 | M |  |  |  | Proximity to Services (New Construction only)
|  |  | x |  |  | Locate the project within a 0.5-mile walk distance of at least four, or a 1-mile walk distance of at least seven, of the listed services. For projects that qualify as Rural / Tribal / Small Town, locate the project within 5 miles of at least four of the listed services. | Many aging residents may have physical or mental limitations which affect their ability to operate a vehicle, or may not have access to a personal vehicle. Without the ability to drive themselves longer distances, it is important to select a site within a short walk distance of basic services such as grocery stores, pharmacies, medical clinics and social service centers. Many social services require face-to-face contact. Resident service coordinators/ property staff can benefit by proximity and increased ability to develop partnerships with nearby service partners. Mobility limitations may also lead to isolation of the resident, which can result in deterioration of mental capabilities and depression. It is important for aging residents to have the ability to continue accessing required services not only to maintain their physical health but also their mental health and vitality through social interaction.
As we age, walking may become more difficult or slower; locating the project within 0.25-mile walk distance, instead of 0.50 mile, of high priority services will make the journey less challenging. It is important to ensure that the walking and biking paths to services are safe and accessible. Discussion with the local jurisdiction may be necessary to ensure that lights at intersection crosswalks allow sufficient time for aging pedestrians to cross. Providing the ability to check out a personal shopping cart would aid residents in carrying packages back from stores or from a vehicle up to their apartment if they still drive.
| 2.6 | M |  |  |  | Preservation of and Access to Open Space in Rural or Tribal Areas (only for projects eligible for USDA funding)
|  |  | x |  |  | Set aside a minimum of 10% (minimum of 0.25 acre) of the total project acreage as non-paved open space for use by all residents OR locate the project within a 0.25-mile walk distance of dedicated public non-paved open space that is a minimum of 0.75 acres. | Residents without the ability to drive or walk long distances will benefit from including open space on the project site. If there is no opportunity for open space within the project boundary, then selecting a location within 0.25 mile walk distance of public open space with safe, easily accessible walking routes will be important. Many older adults have chronic medical conditions. Studies show that access, or views, to the outdoors can improve health and increase healing. Healing gardens with walking paths also provide opportunities for physical activity and social interaction with other residents. Pets or visits from therapy dogs can also improve mental state of residents who feel isolated. Providing a community lawn, dog run, or other amenities for dogs, such as walking areas or dog washing stations, would be beneficial if pets are allowed on the site.
| 2.7 | 6 max |  |  |  | Preservation of and Access to Open Space
|  |  | x | x | x | Set aside a percentage of non-paved open space for use by all residents. 20% [2 points]; 30% [4 points]; 40% + written statement of preservation /conservation policy for set-aside land [6 points]. | See above discussion.
| 2.8 | 8 or 10 |  |  |  | Access to Public Transportation
|  |  | x | x | x | Locate projects within a 0.5-mile walk distance of transit services combined (bus, rail and /or ferry), constituting at least 60 or more transit rides per weekday, with some type of weekend ride option. [8 points] For projects that qualify as Rural / Tribal / Small Town, locate the project within a 5-mile distance of at least one of the following transit options: 1) vehicle share program; 2) dial-a-ride program; 3) employer vanpool; 4) park-and-ride; or 5) public–private regional transportation. [8 points] For an additional 2 points: Locate the project along dedicated bike trails or lanes that lead to transit services or stations (bus, rail and ferry) within 3 miles. | Public transportation provides affordable, reliable, predictable transportation for aging residents, who are less likely drive or walk longer distances due to physical or mental limitations. Residents with limited mobility may have difficulty reaching transit stations or bus stops located up to 0.5-miles away. Locate the project within 0.25-mile walk distance of transit services with safe and accessible walking routes. Many bus routes are designed for commuters which travel in early morning and in the evening. However, aging residents who may be retired, typically travel more during the day. If the resident population is large enough you may be able to request that additional times or a bus stop be added to the site. Wayfinding signage to nearest stops and posting physical public transportation schedules will also be beneficial for aging residents who may not be technology savvy or own a computer.
| 2.9 | 2 - 8 |  |  |  | Improving Connectivity to the Community
|  |  | x | x | x | Improve access to community amenities through at least one of the transit, auto or biking mobility measures listed. | Bike amenities should be designed for residents who may still be able to bike, but have limited abilities. The path required to get to the bike storage area should not require any lifting of the bike, have stairs or other obstacles. Bike racks should not be wall or ceiling mounted, which would require lifting the bike into place. Providing secure, sheltered, accessible bike storage on the ground level is preferred. Additional bike amenities such as an easy to use maintenance station or bike check out/rental would encourage the use of bikes. Bikes for check out should include a basket for carrying items and could be power-assisted, or a tricycle style bike to aid with stability and balance when riding.
| 2.10 | 5 max |  |  |  | Passive Solar Heating / Cooling
|  |  | x | x | x | Design and build with passive solar design, orientation and shading that meet specified guidelines.
| 2.11 | 4 |  |  |  | Brownfield Site or Adaptive Reuse Building
|  |  | x | x | x | Rehabilitate an existing structure that was not previously used as housing or locate the project on a brownfield site.
| 2.12 | 6 |  |  |  | Access to Fresh, Local Foods
|  |  | x | x | x | Pursue one of three options to provide residents and staff with access to fresh, local foods, including neighborhood farms and gardens, community-supported agriculture, or proximity to farmers markets. | Aging residents may have limited ability to go to a grocery store to shop if they are unable to drive. Carrying groceries on public transportation or while walking can be difficult. Access to fresh food on site eliminates barriers to eating nutritious local produce. Dedicating space and shared tools for community gardens offers aging residents access to fresh fruits and vegetables, provides access to the natural environment, as well as opportunities for physical activity and social interaction. Gardens should be designed with raised beds for accessibility. Partnering with a Community Supported Agriculture (CSA) program or locating the project near a farmers market would also provide access to fresh, locally grown food.
To aid aging residents carrying food from local stores, farmers market or an on site garden back to their residence, amenities such as the ability to check out a personal shopping cart could be provided by housing management. Medical conditions may require special dietary restrictions or could benefit from eating more fresh healthy foods. Planning for a shared kitchen in a community space would facilitate community programs that educate aging residents on simple preparation methods and foods to eat for specific medical conditions. This would help aging residents better manage their health.
| 2.13 | 4 |  |  |  | LEED for Neighborhood Development Certification
|  |  | x | x | x | Locate building(s) in a Stage 2 Pre-Certified or Stage 3 Certified Neighborhood Development.
| 2.14 | 6 max |  |  |  | Local Economic Development & Community Wealth Creation
|  |  | x | x | x | Demonstrate that local preference for construction employment and subcontractor hiring was part of your bidding process [2 points] OR demonstrate that you achieved at least 20% local employment [3 points] OR provide physical space for small business, nonprofits, and /or skills and workforce education [3 points].
3 | Site Improvements
| 3.1 | M |  |  |  | Environmental Remediation
|  |  | x | x | x | Conduct an environmental site assessment to determine whether any hazardous materials are present on-site; mitigate any found.
| 3.2 | M |  |  |  | Erosion and Sedimentation Control (Except for infill sites with buildable area smaller than one acre)
|  |  | x | x | x | Implement EPA’s Best Management Practices for Construction Site Stormwater Runoff Control, or local requirements, whichever is more stringent.
| 3.3 | M |  |  |  | Low Impact Development (Only for projects located on greenfields)
|  |  | x | x | x | Projects located on greenfields must meet the list of low-impact development criteria.
| 3.4 | M |  |  |  | Landscaping
|  |  | x | x | x | If providing plantings, all should be native or adapted to the region, appropriate to the site’s soil and microclimate, and none of the new plants is an invasive species. Reseed or xeriscape all disturbed areas.
| 3.5a | M |  |  |  | Efficient Irrigation and Water Reuse (if irrigation is used)
|  |  | x | x | x | If irrigation is used, install an efficient irrigation or water reuse system per the guidelines.
| 3.5b | 4 or 8 |  |  |  | Efficient Irrigation and Water Reuse
|  |  | x | x | x | Install an efficient irrigation system equipped with a WaterSense-labeled weather-based irrigation controller (WBIC) OR at least 50% of the site’s irrigation should be satisfied by reusing water.
| 3.6 | 4 or 8 |  |  |  | Surface Stormwater Management
|  |  | x | x | x | Retain, infiltrate and /or harvest the first 1.0 inch of rain that falls [4 points] OR as calculated for a 24-hour period of a one-year (1) storm event, so that no stormwater is discharged to drains / inlets. [8 points] For both options, permanently label all storm drains and inlets.
| 3.7 | 1 |  |  |  | Reducing Heat Island Effect: Paving
|  |  | x | x | x | Use light-colored, high-albedo materials and/or an open-grid pavement, with a minimum solar reflectance of 0.3, over at least 50% of the site’s hardscaped area.
4 | Water Conservation
| 4.1 | M |  |  |  | Water-Conserving Fixtures
|  |  | x | x | x | Install water-conserving fixtures in all units and any common facilities with the following specifications. Toilets: WaterSense-labeled and 1.28 gpf; Urinals: WaterSense-labeled and 0.5 gpf; Showerheads: WaterSense-labeled and 2.0 gpm; Kitchen faucets: 2.0 gpm; Lav faucets: WaterSense- labeled and 1.5 gpm AND for all single-family homes and all dwelling units in buildings three stories or fewer, the static service pressure must not exceed 60 psi.
| 4.2 | 6 max |  |  |  | Advanced Water Conservation
|  |  | x | x | x | Reduce water consumption either by installing water-conserving fixtures in all units and all common space bathrooms with the following specifications: Toilets: WaterSense-labeled and 1.1 gpf [1 point]; Showerheads: WaterSense-labeled and 1.5 gpm [1 point]; Kitchen faucets: 1.5 gpm and lav faucets: WaterSense-labeled and 1.0 gpm [1 point]
OR Reduce total indoor water consumption by at least 30% compared to the baseline indoor water consumption chart, through a combination of your choosing. [6 points maximum]
| 4.3 | 4 |  |  |  | Leaks & Water Metering
|  |  | x | x | x | Conduct pressure-loss tests and visual inspections to determine if there are any leaks; fix any leaks found; and meter or submeter each dwelling unit with a technology capable of tracking water use. Separately meter outdoor water consumption.
| 4.4 | 4 |  |  |  | Efficient Plumbing Layout & Design
|  |  | x | x | x | To minimize water loss from delivering hot water, the hot water delivery system shall store no more than 0.5 gallons of water in any piping/manifold between the hot water source and any hot water fixture.
| 4.5 | 6 max |  |  |  | Water Reuse
|  |  | x | x | x | Harvest, treat, and reuse rainwater and/or greywater to meet a portion of the project’s total water needs: 10% reuse [3 points]; 20% reuse [4 points]; 30% reuse [5 points]; 40% reuse [6 points]
| 4.6 | 8 |  |  |  | Access to Potable Water during Emergencies
|  |  | x | x | x | Provide residents with access to potable water in the event of an emergency that disrupts normal access to potable water, including disruptions related to power outages that prevent pumping water to upper floors of multifamily buildings or pumping of water from on-site wells, per one of the three options.
5 | Energy Efficiency
| 5.1a | M |  |  |  | Building Performance Standard: New Construction: single family and low-rise multifamily
|  |  | x |  |  | Certify each dwelling unit in the project through the ENERGY STAR New Homes program.
| 5.1b | M |  |  |  | Building Performance Standard: New Construction: mid-rise and high-rise multifamily
|  |  | x |  |  | Certify the project through the ENERGY STAR Multifamily High-Rise program (MFHR) OR follow the combined MFHR and LEED Commissioning Path outlined in the criterion.
| 5.1c | M |  |  |  | Building Performance Standard: Substantial and Moderate Rehab: single family and low-rise multifamily
|  |  |  | x | x | For each dwelling unit, achieve a HERS Index score of 85 or less.
| 5.1d | M |  |  |  | Building Performance Standard: Substantial and Moderate Rehab: mid-rise and high-rise multifamily
|  |  |  | x | x | Demonstrate that the energy performance of the completed building will be equivalent to ASHRAE 90.1-2010 using an energy model created by a qualified energy services provider per Appendix G.
| 5.2a | 5 - 12 |  |  |  | Additional Reductions in Energy Use
|  |  | x | x | x | Design and construct a building that is projected to be at least 5% more efficient than what is required of the project by Criteria 5.1a–d. (Projects receiving points in Criterion 5.2a may not receive points per Criterion 5.2b)
| 5.2b | 12 |  |  |  | Advanced Certification: Nearing Net Zero
|  |  | x | x | x | Certify the project in a program that requires advanced levels of building envelope performance such as PHIUS, Living Building Challenge and/or DOE Zero Energy Ready Home. (Projects receiving points in Criterion 5.2b may not receive points per Criterion 5.2a)
| 5.3 | M |  |  |  | Sizing of Heating and Cooling Equipment
|  |  | x | x | x | Size and select heating and cooling equipment in accordance with the Air Conditioning Contractors of America (ACCA) Manuals J and S or ASHRAE handbooks.
| 5.4 | M |  |  |  | ENERGY STAR Appliances
|  |  | x | x | x | If providing appliances, install ENERGY STAR clothes washers, dishwashers and refrigerators. If appliances will not be installed or replaced at this time, specify that, at the time of installation or replacement, ENERGY STAR models must be used.
| 5.5 | M |  |  |  | Lighting
|  |  | x | x | x | Follow the guidance for high-efficacy lighting controls and other characteristics for all permanently installed lighting fixtures in project dwelling units, common spaces and exterior
| 5.6 | M |  |  |  | Electricity Meter (Mandatory for New Construction and Substantial Rehab)
|  |  | x | x |  | Install individual or submetered electric meters for all dwelling units.
| 5.6 | 6 |  |  |  | Electricity Meter (Optional for Moderate Rehab)
[5 empty] | x | Install individual or submetered electric meters for all dwelling units.
| 5.7a | 4 |  |  |  | Photovoltaic / Solar Hot Water Ready
|  |  | x | x | x | Orient, design, engineer, wire and /or plumb the development to accommodate installation of photovoltaic (PV) or solar hot water system in the future.
| 5.7b | 10 max |  |  |  | Renewable Energy
|  |  | x | x | x | Install photovoltaic (PV) panels or other electric-generating renewable energy source to provide a specified percentage of the project’s estimated total energy demand or water heating energy demand. (Projects may earn points through Criterion 5.7b or 5.8b, but not both.)
| 5.8a | 8 |  |  |  | Resilient Energy Systems: Floodproofing
|  |  | x | x | x | Conduct floodproofing, including perimeter floodproofing (barriers /shields), of lower floors. Design and install building systems as specified by the full criterion so that the operation of those systems will not be grossly affected in case of a flood.
| 5.8b | 4 - 8 |  |  |  | Resilient Energy Systems: Islandable Power
|  |  | x | x | x | Provide emergency power through an islandable photovoltaic (PV) system or an efficient and permanent generator that will offer at least limited electricity for critical circuits during power outages per one of the three options listed. (Projects may earn points through Criterion 5.7b or 5.8b, but not both.)
6 | Materials
| 6.1 | M |  |  |  | Low / No VOC Paints, Coatings and Primers
|  |  | x | x | x | All interior paints and primers must have VOC levels, in grams per liter, less than or equal to the thresholds established by South Coast Air Quality Management District (SCAQMD) Rule 1113.
| 6.2 | M |  |  |  | Low / No VOC Adhesives and Sealants
|  |  | x | x | x | All adhesives and sealants (including caulks) must have VOC levels, in grams per liter, less than or equal to the thresholds established by the South Coast Air Quality Management District Rule 1168.
| 6.3 | 3 max |  |  |  | Recycled Content Material
|  |  | x | x | x | Incorporate building materials that are composed of at least 25% post-consumer recycled content or at least 50% post-industrial recycled content. [1 point] Building materials that make up at least 75% of their project component each receive 1 point.
| 6.4 | 4 max |  |  |  | Regional Material
|  |  | x | x | x | Use products that were extracted, processed and manufactured within 500 miles of the project for a minimum of 50%, based on cost, of the building materials’ value. Select any or all of these options (each material can qualify for 1 point): • Framing materials • Exterior materials (e.g., siding, masonry, roofing) • Flooring materials • Concrete/cement and aggregate material • Drywall/interior sheathing materials
| 6.5 | 1 |  |  |  | Certified, Salvaged and Engineered Wood Products
|  |  | x | x | x | For at least 25% of all structural wood products, by cost or value, commit to using either FSC-certified, salvaged products or engineered framing materials without urea formaldehyde.
| 6.6 | M |  |  |  | Composite Wood Products that Emit Low / No Formaldehyde
|  |  | x | x | x | All composite wood products must be certified as compliant with California 93120 Phase 2 OR, if using a composite wood product that does not comply with California 93120 Phase 2, all exposed edges and sides must be sealed with low-VOC sealants, per Criterion 6.2.
| 6.7a | M |  |  |  | Environmentally Preferable Flooring
|  |  | x | x | x | Do not install carpets in building entryways, laundry rooms, bathrooms, kitchens / kitchenettes, utility rooms or any rooms built on foundation slabs. Where installed, all carpet products must meet the Carpet and Rug Institute’s Green Label or Green Label Plus certification for carpet, pad and carpet adhesives. Any hard surface flooring products must be either ceramic tile or solid unfinished hardwood floors, or meet the Scientific Certification System’s FloorScore program criteria (including pre-finished hardwood flooring).
| 6.7b | 6 |  |  |  | Environmentally Preferable Flooring Throughout
|  |  | x | x | x | Use non-vinyl, non-carpet floor coverings throughout each building in the project. | In addition to improving indoor air quality for residents, installing smooth, hard flooring reduces tripping and allows greater mobility for older adults because they are more easily able to shuffle feet on hard surfaces. Carpet is often desired in the bedroom for comfort and warmth. If hard surface flooring cannot be used throughout the entire residence, limit carpet to small areas and select easy to clean, short pile carpets for these areas. Large loop residential carpets may trap the wheels on wheelchairs. Transitions between flooring types can be a tripping hazard, so carefully consider transitions between dissimilar materials. One option for carpet is to recess the carpet into the floor to maintain a level surface with hard surface flooring. Area rugs placed on hard surfaces can also present a tripping hazard or may slide causing a resident to fall. Incontinence and reduced balance can lead to more spills, so flooring which is water resistant and easy to clean will reduce the need for frequent replacement. Use of carpet may add to maintenance costs if carpet frequently needs to be replaced. Hard surface flooring is easier to maintain for longer periods of time.
| 6.8 | M |  |  |  | Mold Prevention: Surfaces
|  |  | x | x | x | Use materials that have durable, cleanable surfaces throughout bathrooms, kitchens and laundry rooms. Materials installed in these rooms should not be prone to deterioration due to moisture intrusion or encourage the growth of mold.
| 6.9 | M |  |  |  | Mold Prevention: Tub & Shower Enclosures
|  |  | x | x | x | Use moisture-resistant backing materials such as cement board, fiber cement board or equivalent per ASTM #D3273 behind tub / shower enclosures. Projects using a one-piece fiberglass tub / shower enclosure are exempt from this requirement.
| 6.10 | 12 max |  |  |  | Asthmagen-free Materials
|  |  | x | x | x | Do not install products that contain ingredients that are known to cause or trigger asthma. Key products to avoid are: • Insulation: Do not use spray polyurethane foam (SPF) or formaldehyde-containing fiberglass batts. [4 points] • Flooring: Do not use flexible vinyl (PVC) roll or sheet flooring or carpet-backed with vinyl with phthalates. Do not use fluid applied finish floors. [4 points] • Wall coverings: Do not use wallpaper made from vinyl (PVC) with phthalates or site-applied high-performance coatings that are epoxy or polyurethane based. [4 points] • Composite wood: Use only ULEF products for cabinetry, subflooring and other interior composite wood uses. [4 points] | Many older adults have a weakened immune system and suffer from respiratory related medical conditions, such as asthma. These conditions may lead to increased sensitivity of chemicals and off-gassing found in construction materials. Many aging residents also have a weakened sense of smell to identify odors that warn of dangerous chemical emissions, they may be unaware they are breathing chemicals which can cause health issues.
| 6.11 | 5 |  |  |  | Reduced Heat-Island Effect: Roofing
|  |  | x | x | x | Use an ENERGY STAR–certified roofing product for 100% of the roof area OR install a “green” (vegetated) roof for at least 50% of the roof area and ENERGY STAR–certified roofing product for the remainder of the roof area.
| 6.12 | M / 6 max |  |  |  | Construction Waste Management (Minimum requirements for all projects. Optional points are available for projects that go beyond mandatory.)
|  |  | x | x | x | Commit to following a waste management plan that reduces non-hazardous construction and demolition waste through recycling, salvaging or diversion strategies through one of the three options. Achieve optional points by going above and beyond the requirement.
| 6.13 | 3 |  |  |  | Recycling Storage for Multifamily Project
|  |  | x | x | x | Provide separate bins for the collection of trash and recycling for each dwelling unit and all shared community rooms (if applicable). Additionally, in multifamily buildings, provide at least one easily accessible, permanent and dedicated indoor area for the collection and storage of materials for recycling. In single-family homes, points will be accrued only if curb-side recycling pickup is available. Collected materials should include, at a minimum, paper, cardboard, glass, metals and plastics.
7 | Healthy Living Environment
| 7.1 | M |  |  |  | Ventilation (Mandatory for New Construction and Substantial Rehab)
|  |  | x | x |  | For each dwelling unit, in full accordance with ASHRAE 62.2-2010, install a local mechanical exhaust system in each bathroom [4 points], a local mechanical exhaust system in each kitchen [4 points], and a whole-house mechanical ventilation system [4 points]. For each multifamily building of four stories and more, in full accordance with ASHRAE 62.1-2010, install a mechanical ventilation system for all hallways and common spaces [3 points]. For all project types, in addition to the above requirements: • All systems and associated ductwork must be installed per manufacturer’s recommendations. • All individual bathroom fans must be ENERGY STAR labeled, wired to turn on with the light switch, and equipped with a humidistat sensor, timer or other control (e.g., occupancy sensor, delay off switch, ventilation controller). • If using central ventilation systems with rooftop fans, each rooftop fan must be direct-drive and variable-speed with speed controller mounted near the fan. Fans with design CFM 300-2000 must also have an ECM motor.
| 7.1 | 12 max |  |  |  | Ventilation (Optional for Moderate Rehab)
[5 empty] | x | For each dwelling unit, in full accordance with ASHRAE 62.2-2010, install a local mechanical exhaust system in each bathroom [4 points], a local mechanical exhaust system in each kitchen [4 points], and a whole-house mechanical ventilation system [4 points]. For each multifamily building of four stories and more, in full accordance with ASHRAE 62.1-2010, install a mechanical ventilation system for all hallways and common spaces [3 points]. For all project types, in addition to the above requirements: • All systems and associated ductwork must be installed per manufacturer’s recommendations. • All individual bathroom fans must be ENERGY STAR labeled, wired to turn on with the light switch, and equipped with a humidistat sensor, timer or other control (e.g., occupancy sensor, delay off switch, ventilation controller). • If using central ventilation systems with rooftop fans, each rooftop fan must be direct-drive and variable-speed with speed controller mounted near the fan. Fans with design CFM 300-2000 must also have an ECM motor.
| 7.2 | M |  |  |  | Clothes Dryer Exhaust
|  |  | x | x | x | Clothes dryers must be exhausted directly to the outdoors using rigid-type ductwork (except for condensing dryers, which must be plumbed to a drain).
| 7.3 | M |  |  |  | Combustion Safety
|  |  | x | x | x | For new construction and rehab projects, specify power-vented or direct vent equipment when installing any new combustion appliance for space or water heating that will be located within the conditioned space. In Substantial and Moderate Rehabs, if there is any combustion equipment located within the conditioned space for space or water heating that is not power-vented or direct vent and that is not scheduled for replacement, conduct initial combustion safety testing per the given guidelines. Install one hard-wired carbon monoxide (CO) alarm with battery backup function for each sleeping zone, placed per National Fire Protection Association (NFPA) 720.
| 7.4 | 9 or 11 |  |  |  | Elimination of Combustion within the Conditioned Space
|  | 9 | x | x | x | No combustion equipment may be used for cooking (to include, but not limited to ranges, cooktops, stoves, ovens) as part of the building project [9 points]
|  | 11 | x | x | x | OR no combustion equipment may be used as part of the building project [11 points].
| 7.5 | M |  |  |  | Vapor Retarder Strategies (New Construction and Rehab projects with foundation work only)
|  |  | x |  |  | Install vapor barriers that meet specified criteria appropriate for the foundation type.
| 7.6 | M |  |  |  | Water Drainage (New Construction and Rehab projects replacing assemblies called out in Criterion only)
|  |  | x |  |  | Provide drainage of water away from walls, windows and roofs by implementing the list of techniques.
| 7.7 | M |  |  |  | Mold Prevention: Water Heaters
|  |  | x | x | x | Provide adequate drainage for water heaters that includes drains or catch pans with drains piped to the exterior of the dwelling.
| 7.8 | M |  |  |  | Radon Mitigation (New Construction and Substantial Rehab only)
|  |  | x |  |  | For New Construction in EPA Zone 1 areas, install passive radon-resistant features below the slab and a vertical vent pipe with junction box within 10 feet of an electrical outlet in case an active system should prove necessary in the future.
|  |  |  | x |  | For Substantial Rehab projects in EPA Zone 1, test and mitigate per the specified protocols.
| 7.9 | M |  |  |  | Garage Isolation
|  |  | x | x | x | • Provide a continuous air barrier between the conditioned space and any garage space to prevent the migration of any contaminants into the living space. Visually inspect common walls and ceilings between attached garages and living spaces to ensure that they are air-sealed before insulation is installed. • Do not install ductwork or air handling equipment in a garage. • Fix all connecting doors between conditioned space and garage with gaskets or otherwise make substantially airtight with weather stripping. • Install one hard-wired carbon monoxide (CO) alarm with battery backup function for each sleeping zone of the project, placed per National Fire Protection Association (NFPA) 720.
| 7.10 | M |  |  |  | Integrated Pest Management
|  |  | x | x | x | Seal all wall, floor, and joint penetrations with low-VOC caulking or other appropriate nontoxic sealing methods to prevent pest entry.
| 7.11a | 9 |  |  |  | Beyond ADA: Universal Design (New Construction only)
|  |  | x |  |  | Design a minimum of 15% of the dwelling units (no fewer than one) in accordance with ICC / ANSI A117.1, Type A, Fully Accessible guidelines. Design the remainder of the ground-floor units and elevator-reachable units in accordance with ICC / ANSI A117.1, Type B. | There are pros and cons to designing a project with an increased number of Type A and Type B units in the unit mix. In order to meet the 7.11 Criteria, buildings with elevators would be required to design 100% of the remaining units to Type B standards. However, depending on the intended user mix of the building, designing an increased number of units with accessibility infrastructure may impact the ability to rent those units. Residents who do not yet need these features in place are hesitant to rent a unit with a "medical feel", even though they may need these features in the future.
Designing units for adaptability over time is important. The goal for residents to age in place is to stay in one location as long as possible, therefore it is beneficial to put as much of the infrastructure in place when the building is constructed. Many of the requirements for these types of units are dimensional and space requirements, allowing room for proper maneuverability for both residents and their aids, and would be difficult to incorporate later in a renovation. Prioritize floor clearances, wall reinforcement/blocking, and any other underlying infrastructure during construction. Finishes and built in amenities can be upgraded as residents age.
| 7.11b | 7 or 9 |  |  |  | Beyond ADA: Universal Design (Substantial and Moderate Rehab only)
|  |  |  | x | x | Design a minimum of 10% of the dwelling units (one, at minimum) in accordance with ICC / ANSI A117.1, Type A, Fully Accessible guidelines. [7 points] For an additional 2 points: Design the remainder of the ground-floor units and elevator-reachable units with accessible unit entrances designed to accommodate people who use a wheelchair. | See above discussion. Renovation projects should prioritize upgrades that impact safety first. Consider upgrading the bathroom and kitchen first, as these are the most hazardous areas, and residents use these the most as part of their daily activities. Reference the Aging in Place Guidelines for specific design recommendations. As a result, leisure spaces (living rooms) may need to be compromised - which can be addressed by selecting space efficient furnishings.
| 7.12 | M |  |  |  | Active Design: Promoting Physical Activity within the Building
|  |  | x | x | x | Situate at least one building stairway per the criterion to encourage use OR emphasize at least one strategy inside the building designed to increase frequency and duration of physical activity per the criterion. | Features designed for physical activity should be designed with aging residents limited mobility in mind. Keeping goals small and manageable will encourage older adults to take small steps towards becoming more physically active. Stairs can be a particular challenge for aging residents. Encourage stair use by numbering stairs, older adults can set a goal of walking a certain number each day and gradually increase until they are able to confidently walk the entire flight. A variety of fitness options and methods of encouragement keep residents engaged. Inspirational slogans on walls and small areas with exercise stations, such as wall push ups (which are easier to do) and small weights, can challenge users as they build skills. Enlarged stair landings or unused space in corridor niches can be used for this purpose. Provide activities for residents in wheelchairs also with activities designed to be performed while seated.
Walking is a low impact activity for residents with physical limitations. Promote walking in the building with social nodes and community room destinations on different floors with varying activities that residents will be encouraged to visit. Use the building as a tool by creating walking circuits throughout the building with distances of routes posted (i.e. walking a lap around the hallway 4 times = .25 miles). Giving residents a sense of accomplishment will encourage them to travel a little farther to hit a specific target.
| 7.13 | 10 |  |  |  | Active Design: Staircases and Building Circulation
|  |  | x | x | x | A staircase must be accessible and visible from the main lobby as well as visible within a 25-foot walking distance from any edge of lobby. Ensure that no turns or obstacles prevent visibility of or accessibility to the qualifying staircase from the lobby, and that the staircase is encountered before or at the same time as the elevators. From the corridor, accessible staircases should be made visible by: Providing transparent glazing of at least 10 square feet (1 square meter) at all stair doors or at a side light OR providing magnetic door holds on all doors leading to the stairs OR removing door enclosures / vestibules. | Stairs can be dangerous for people with limited mobility. Stairs can be designed with accommodations to make them easier to navigate. Steps that are less steep, provide additional landings, use slip resistant materials, and are well lit help prevent accidents. Also, stairs which turn direction at each landing will lessen the distance of a fall, if one should occur. Color can be used to enhance safety and provide a more inviting space. Highlighting the edges of stairs and landings will improve visibility. Enclosed stairways can be isolated from the rest of the building, posing a risk of someone falling and no one knowing. Adding glazing provides visibility into the stairwell. Glazing on an outside wall can provide natural light, which is a benefit if the power suddenly goes out when a resident is in the stairwell.
Ensure that the design of the stairs meant to promote their use doesn't hide the elevator or make it difficult to find. Some aging residents count on the elevator to get to upper floors due to a physical limitation that would prevent them from taking the stairs. In addition, places for rest should be included in active circulation. Aging residents may need to stop several times while traveling from one point to another in the building. These resting spaces can be opportunities for social space.
| 7.14 | 9 |  |  |  | Interior and Outdoor Activity Spaces for Children and Adults
|  |  | x | x | x | Provide an on-site dedicated recreation space with exercise or play opportunities for adults and / or children that is open and accessible to all residents; see criterion for specifics. | Provide a variety of recreational opportunities for residents of all abilities. Consider outdoor adult playgrounds with exercise equipment specifically designed for aging residents. Outdoor, low impact recreational games provide opportunities for socializing and activity. Outdoor pathways with mileage signs provide a safe walking environment near the building. Physical therapy pathways can be designed with features to practice balance, such as ramps, varying surface types, small sets of practice stairs, different types of rock surfaces and small boulders to navigate. Handrails should be placed along physical therapy trails for added support.
| 7.15 | M |  |  |  | Reduce Lead Hazards (Substantial Rehab, pre-1978)
|  |  |  | x |  | Conduct lead risk assessment or inspection to identify lead hazards, then control for these per EPA or state / local laws and requirements.
| 7.16 | 10 |  |  |  | Smoke-Free Building
|  |  | x | x | x | Implement and enforce a no-smoking policy in all common and individual living areas, and within a 25-foot perimeter around the exterior of all residential projects. | Aging residents often have a weakened immune systems and are more likely to have additional medical conditions, including respiratory problems, resulting in increased sensitivity to second hand smoke. Note that smoking was culturally acceptable when aging residents were younger, before health risks were publicized; there may be resistance to non-smoking policies. Providing a temperature controlled shelter away from the building will discourage smokers from congregating near building entrances.
8 | Operations, Maintenance, and Resident Engagement
| 8.1 | M |  |  |  | Building Maintenance Manual (all multifamily projects)
|  |  | x | x | x | Develop a manual with thorough building operations and maintenance guidance and a complementary plan. The manual and plan should be developed over the course of the project design, development and construction stages, and should include sections/chapters addressing the list of topics.
| 8.2 | M |  |  |  | Emergency Management Manual (all multifamily projects)
|  |  | x | x | x | Provide a manual on emergency operations targeted toward operations and maintenance staff and other building-level personnel. The manual should address responses to various types of emergencies, leading with those that have the greatest probability of negatively affecting the project. The manual should provide guidance as to how to sustain the delivery of adequate housing throughout an emergency and cover a range of topics, including but not limited to: • communication plans for staff and residents • useful contact information for public utility and other service providers • infrastructure and building “shutdown” procedures | When planning for aging residents in the event of an emergency, the team must consider residents ability to react to the situation. Due to physical limitations older adults may not be able to evacuate on their own. Physical limitations may prevent aging residents from exiting down the stairs. A plan should include an option for keeping residents in place or in a central location in the building. Emergency alert systems should include auditory and visual cues for residents with impairments. Verbal instructions can be pre-recorded and played when the situation occurs. Aging residents with dulled senses may not recognize an emergency situation.
Due to reduced cognitive function some older adults become easily confused or agitated in an emergency situation and may not follow directions given by staff or emergency responders. Older adults can become entrenched in a set routine and are resistant to any sort of change. Also, aging residents may be too embarrassed to admit they need help. Preparing residents with periodic test drills may avoid some confusion and resistance to following an emergency procedure. Older adults can be a resource in an emergency when staff are limited. Resident floor leaders who can help those that are less able can be recruited and organized in advance to assist during an evacuation. Medical conditions may require equipment that needs electricity (example oxygen tanks) or medications that need to be refrigerated. A plan for emergency power will be important to maintain he health of residents with medical conditions.
| 8.3 | M |  |  |  | Resident Manual
|  |  | x | x | x | Provide a guide for homeowners and renters that explains the intent, benefits, use and maintenance of their home’s green features and practices. The Resident Manual should encourage green and healthy activities per the list of topics. | In addition to sustainability features, list Aging-in-Place features in the resident manual. Include instructions on how to use the features and where they are located. Give positive encouragement to use features by explaining the benefits. A large manual may be overwhelming for residents with reduced cognitive function. Small brochures on specific topics could provide additional education in smaller doses, and reminder signage could be placed throughout building to encourage use of the features.
| 8.4 | M |  |  |  | Resident and Property Manager Orientation
|  |  | x | x | x | Provide a comprehensive walk-through and orientation for all residents, property manager(s) and buildings operations staff. Use the appropriate manuals (see Criteria 8.1, 8.2, 8.3) as the base of the curriculum, and review the project’s green features, operations and maintenance procedures, and emergency protocols. | While conducting the walk-through and orientation, highlight the specific Aging-in-Place features of the project. Discuss emergency procedures specific to aging residents in the population. Aging residents may have difficulty standing for long periods of time during a building tour, or trouble hearing. Stop to rest in community spaces or break up the orientation into several pieces. Stop frequently to ensure everyone is hearing and comprehending the information. Building tours can be an opportunity to formally assess the condition of aging residents by observing their behavior during the orientation.
| 8.5 | M |  |  |  | Project Data Collection and Monitoring System: 100% Owner Paid Utility Accounts, 15% Tenant Paid Utility Accounts
|  |  | x | x | x | For rental properties: Collect and monitor project energy and water performance data for 100% of owner-paid utilities and 15% of tenant-paid utilities for at least 5 years. This data must be maintained in a manner that allows staff to easily access and monitor it, enabling them to make informed operations and capital planning decisions. Also allow Enterprise access to this data. For owner-occupied units: Collect and monitor energy and water performance data in a manner that allows for easy access and review and provides the ability to influence home operations. Also allow Enterprise access to this data.
| 8.6 | 7 or 11 |  |  |  | Project Data Collection and Monitoring System: >15% Tenant Paid Utility Accounts
|  |  | x | x | x | Collect and monitor project energy and water performance data for at least 5 years. This data must be maintained in a manner that allows staff to easily access and monitor it, enabling them to make informed operations and capital planning decisions. Also allow Enterprise access to this data.16–60% of units [7 points]; 60–100% of units [11 points].