

2020 Green Communities Criteria

**Template for Compliance with**

**Temporary Pathway for Criterion 5.2b Moving to Zero Energy: Near Zero**

Enterprise Green Communities will be administering a temporary pathway for buildings in the District of Columbia seeking to comply with our Criterion 5.2b Moving to Zero Energy: Near Zero Certification. This pathway’s requirements mimic those of DOE Zero Energy Ready Home Rev. 07 and will be available only to new construction properties in the District of Columbia which are pursuing Criterion 5.2b and not eligible for certification to ZERH.

This document must be submitted at Prebuild and Postbuild to document compliance with the energy efficiency requirements of this temporary pathway.

Pathway Requirements

Refer to the [2020 Criteria Addenda and FAQ](https://www.greencommunitiesonline.org/2020-addenda-faq) for how [DOE ZERH National Program Requirements Rev 07](https://www.energy.gov/sites/default/files/2019/04/f62/DOE%20ZERH%20Specs%20Rev07.pdf) has been modified for this temporary pathway.

In addition to the energy efficiency requirements verified in part by this template, projects pursuing this pathway must also comply with:

1. **2020 Criterion 7.9,** *Construction Pollution Management: Option 2*
2. **2020 Criterion 5.3a**, *Moving to Zero Energy: Photovoltaic/Solar Hot Water Ready*, **OR** **Criterion 5.3b,** *Moving to Zero Energy: Renewable Energy*

Please fulfill the “Complete for Prebuild” section of this template and submit with your Prebuild application. Please fulfill the “Complete for Postbuild” section of this template and submit with your Postbuild application.

**Complete for Prebuild**

Intent at Prebuild is to show readiness for ENERGY STAR certification and for achieving the more rigorous ZERH performance standard. EUI and emissions reporting, as with all Green Communities developments, is also required.

1. Indicate which path your project is following for ENERGY STAR certification. Complete both steps either with the ASHRAE path or with the ERI path:

[ ]  ASHRAE path:

* + 1. submit 5.1a Building Performance Standard Template – ASHRAE Option
		2. please confirm that all ZERH prescriptive path features will be achieved or exceeded

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

[ ]  ERI path:

* + 1. submit 5.1a Building Performance Standard Template – ERI Option
		2. submit projected ERI ratings which demonstrate a HERS Index at or below the DOE ZERH Target Home HERS Index.
1. Confirm intent to comply with **all** of the following requirements:
	1. Envelope

[ ]  All fenestration shall meet or exceed ENERGY STAR requirements

[ ]  All ceiling, wall, floor, and slab insulation shall meet or exceed 2015 IECC levels.

* + Duct System

[ ]  All duct distribution systems shall be located within the home’s thermal and air barrier boundary or an optimized location to achieve comparable performance.

[ ]  All HVAC air handlers shall be located within the home’s thermal and air barrier boundary.

* + Water Efficiency: All hot water delivery systems (distributed and central) [ ]  shall meet efficient design requirements **OR**  [ ]  all water heaters and fixtures shall meet efficiency criteria.

**Provide any additional relevant information:**

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Project Name and Location:**

**Signature: Date:**

**Complete for Postbuild**

Intent at Postbuild is to show achievement of ENERGY STAR certification and achievement of the more rigorous ZERH performance standard. EUI and emissions reporting, as with all Green Communities developments, is also required.

1. Indicate which path your project is following for ENERGY STAR certification. Complete all steps associated with either the ASHRAE path or with the ERI path:

[ ]  ASHRAE path:

* + 1. submit 5.1a Building Performance Standard Template – ASHRAE Option
		2. submit ENERGY STAR certificate(s)
		3. please confirm that all ZERH prescriptive path features were achieved or exceeded

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

[ ]  ERI path:

* + 1. submit 5.1a Building Performance Standard Template – ERI Option
		2. submit ENERGY STAR certificate(s) with confirmed ERI ratings which demonstrate a HERS Index at or below the DOE ZERH Target Home HERS Index
1. Confirm that all of the following requirements have been met in full:
	1. Envelope

[ ]  All project fenestration meets or exceeds ENERGY STAR requirements

[ ]  All ceiling, wall, floor, and slab insulation meets or exceeds 2015 IECC levels.

* + Duct System

[ ]  All duct distribution systems are located within the home’s thermal and air barrier boundary or an optimized location to achieve comparable performance.

[ ]  All HVAC air handlers are located within the home’s thermal and air barrier boundary.

* + Water Efficiency: All hot water delivery systems (distributed and central) [ ]  meet efficient design requirements **OR**  [ ]  all water heaters and fixtures meet efficiency criteria.

**Provide any additional relevant information:**

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Project Name and Location:**

**Signature: Date:**